## SUMMARY
MATERIAL TAKEOFF AND COST ESTIMATE STATEMENT
PROJECT NAME: |  | ELECTRICAL SAMPLE
LOCATION: |  | DALLAS, TX 75225 |  | TOTAL AREA(SF) |  | 1834 | Area May Vary
Sr # | REFERENCE | DESCRIPTION |  |  | TOTAL COST | $COST/SF | 91.6317
DIVISION WISE SUMMARY | [6 empty] | 138886.401
CSI DIVISIONS
1 |  | 01-General Conditions |  |  | 17692.0947 | 9.6467
2 |  | 02-Demolition Of Existing Items |  |  | 2164.203 | 1.18
3 |  | 26-Electrical |  |  | 98036.8738 | 53.4552
4 |  | 27-Communications |  |  | 7746.3245 | 4.2237
5 |  | 28-Electronic Safety & security |  |  | 13246.905 | 7.223
SUB TOTAL | [6 empty] | 138886.401
PROFIT |  |  | 20% |  |  |  | 27777.2802
CONTINGENCY |  |  | 1% |  |  |  | 1388.864
NET TOTAL | [6 empty] | 168052.5452
NOTES: PRICES OF LABOR AND MATERIALS ARE TAKEN FROM ONLINE MARKET RESOURCES AND CAN DIFFER FROM LOCAL VENDOR/SUPPLIER, RESPECTED CLIENTS ARE ADVISED TO DOUBLE CHECK TO MAKE SURE THE BID IS COMPETITIVE.

## BASEBID
Sr # | REFERENCE | DESCRIPTION | QUANTITY | WASTE | TOTAL QTY | UNIT | COST/UNIT | MATERIAL TOTAL | UNIT MANHOUR | TOTAL MANHOURS | LABOR RATE | TOTAL LABOR COST | LABOR + MAT TOTAL COST | L+M UNIT COST
Units Legends; LS=Lump sum, LF=Linear Footage, CY=Cubic Yard, SF=Square Footage, EA=Count/Each
| PROJECT | ELECTRICAL SAMPLE
| ADDRESS | DALLAS, TX 75225
| 01. GENERAL CONDITIONS | [11 empty] | 17692.0947
INDIRECT PROJECT COSTS
1 |  | General Liability Insurance | 1 | 0% | 1 | LS | 2242.0947 | 2242.0947 | 0 |  |  |  | 2242.0947 | 0
2 |  | General Conditions (Backoffice Overhead) | 1 | 0% | 1 | Mo | 3500 | 3500 | 0 |  |  |  | 3500 | 0
DIRECT PROJECT COSTS
3 |  | Bonding Fee (If required) | 1.15 | 0% | 1.15 | %
4 |  | Access Control (Pipe Scaffolding or Boom/Scissor Lifts) | 0 | 0% | 0 | Mo | 0 | 0 | 0 |  |  |  | 0 | 0
5 |  | Equipment Rental | 1 | 0% | 1 | LS | 1800 | 1800 | 0 |  |  |  | 1800 | 0
6 |  | Travel, Tools, Gas | 1 | 0% | 1 | Mo | 300 | 300 | 0 |  |  |  | 300 | 0
7 |  | Field Office | 0 | 0% | 0 | Mo | 0 | 0 | 0 |  |  |  | 0 | 0
8 |  | Temp. Facilities | 1 | 0% | 1 | Mo | 150 | 150 | 0 |  |  |  | 150 | 0
9 |  | Temp. Signage and Protection | 1 | 0% | 1 | Mo | 100 | 100 | 0 |  |  |  | 100 | 0
10 |  | Temp. Fencing | 1 | 0% | 1 | Mo | 100 | 100 | 0 |  |  |  | 100 | 0
11 |  | Field Superintendent/Foreman (Full Time) | 1 | 0% | 1 | Mo | 5500 | 5500 | 0 |  |  |  | 5500 | 0
12 |  | Project Manager (Part Time) | 1 | 0% | 1 | Mo | 4000 | 4000 | 0 |  |  |  | 4000 | 0
| 02. DEMOLITION OF EXISTING ITEMS | [9 empty] | 50 |  | 2164.203
| DM-100 | DEMOLITION
13 |  | Remove Existing Light Fixtures, Power & Data Outlets, Security/Audio & Fire Alarm Devices & Disconnect Mechanical Equipments W/Associated Wiring & Conduits From Area | 1694.73 | 0% | 1694.73 | SF | 0 | 0 | 0.022 | 37.2841 | 50 | 1864.203 | 1864.203 | 1.1
| E101 | RELOCATION
14 |  | Relocate Existing Electrical Panel | 1 | 0% | 1 | EA | 0 | 0 | 6 | 6 | 50 | 300 | 300 | 300
| 26. ELECTRICAL | [9 empty] | 60 |  | 98036.8738
| E101, E201 | WIRES & CONDUITS
15 |  | 2#18 Stranded, Plenum-Rated (CMP) Cable | 25.17 | 5% | 26.4285 | LF | 0.38 | 10.0428 | 0.018 | 0.47571 | 60 | 28.5428 | 38.5856 | 1.46
16 |  | #12 AWG THWN Cu | 4725.78 | 5% | 4962.069 | LF | 0.6 | 2977.2414 | 0.02 | 99.2414 | 60 | 5954.4828 | 8931.7242 | 1.8
17 |  | #10 AWG THWN Cu | 1246 | 5% | 1308.3 | LF | 0.67 | 876.561 | 0.025 | 32.7075 | 60 | 1962.45 | 2839.011 | 2.17
18 |  | #8 AWG THWN Cu | 18.52 | 5% | 19.446 | LF | 0.75 | 14.5845 | 0.032 | 0.62227 | 60 | 37.3363 | 51.9208 | 2.67
19 |  | #6 AWG THWN Cu | 10.7 | 5% | 11.235 | LF | 0.9 | 10.1115 | 0.045 | 0.50557 | 60 | 30.3345 | 40.446 | 3.6
20 |  | #2 AWG THWN Cu | 50 | 5% | 52.5 | LF | 1.21 | 63.525 | 0.058 | 3.045 | 60 | 182.7 | 246.225 | 4.69
21 |  | #1/0 AWG THWN Cu | 32.1 | 5% | 33.705 | LF | 1.55 | 52.2428 | 0.065 | 2.1908 | 60 | 131.4495 | 183.6923 | 5.45
22 |  | #250 kCMIL THWN Cu | 53.48 | 5% | 56.154 | LF | 18 | 1010.772 | 0.12 | 6.7385 | 60 | 404.3088 | 1415.0808 | 25.2
23 |  | 3/4" EMT Conduit | 2009 | 5% | 2109.45 | LF | 1.14 | 2404.773 | 0.05 | 105.4725 | 60 | 6328.35 | 8733.123 | 4.14
24 |  | 3/4" Conn Ss Stl - Emt | 161 | 0% | 161 | EA
25 |  | 3/4" Coupling Ss Stl - Emt | 201 | 0% | 201 | EA
26 |  | 3/4" 1-H Strap - Emt - Steel | 300 | 0% | 300 | EA
27 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 400 | 0% | 400 | EA
28 |  | #10 X 1 P/H Self-Tap Screw | 400 | 0% | 400 | EA
29 |  | 1-1/4" EMT Conduit | 18.52 | 5% | 19.446 | LF | 1.54 | 29.9468 | 0.06 | 1.1668 | 60 | 70.0056 | 99.9524 | 5.14
30 |  | 1-1/4" Conn Ss Stl - Emt | 2 | 0% | 2 | EA
31 |  | 1-1/4" Coupling Ss Stl - Emt | 2 | 0% | 2 | EA
32 |  | 1-1/4" 1-H Strap - Emt - Steel | 4 | 0% | 4 | EA
33 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 5 | 0% | 5 | EA
34 |  | #10 X 1 P/H Self-Tap Screw | 5 | 0% | 5 | EA
35 |  | 1-1/2" EMT Conduit | 10.7 | 5% | 11.235 | LF | 1.42 | 15.9537 | 0.072 | 0.80892 | 60 | 48.5352 | 64.4889 | 5.74
36 |  | 1-1/2" Conn Ss Stl - Emt | 1 | 0% | 1 | EA
37 |  | 1-1/2" Coupling Ss Stl - Emt | 2 | 0% | 2 | EA
38 |  | 1-1/2" 1-H Strap - Emt - Steel | 3 | 0% | 3 | EA
39 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 3 | 0% | 3 | EA
40 |  | #10 X 1 P/H Self-Tap Screw | 3 | 0% | 3 | EA
41 |  | 2-1/2" EMT Conduit | 13.37 | 5% | 14.0385 | LF | 1.88 | 26.3924 | 0.082 | 1.1512 | 60 | 69.0694 | 95.4618 | 6.8
42 |  | 2-1/2" Conn Ss Stl - Emt | 2 | 0% | 2 | EA
43 |  | 2-1/2" Coupling Ss Stl - Emt | 2 | 0% | 2 | EA
44 |  | 2-1/2" 1-H Strap - Emt - Steel | 3 | 0% | 3 | EA
45 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 4 | 0% | 4 | EA
46 |  | #10 X 1 P/H Self-Tap Screw | 4 | 0% | 4 | EA
| E101 | RECEPTACLES & DISCONNECT SWITCHES
47 |  | Duplex Ceiling Mounted Receptacle | 2 | 0% | 2 | EA | 20 | 40 | 0.55 | 1.1 | 60 | 66 | 106 | 53
48 |  | Duplex Receptacle | 13 | 0% | 13 | EA | 20 | 260 | 0.55 | 7.15 | 60 | 429 | 689 | 53
49 |  | GFCI Duplex Receptacle | 2 | 0% | 2 | EA | 65 | 130 | 0.7 | 1.4 | 60 | 84 | 214 | 107
50 |  | Quad Receptacle | 2 | 0% | 2 | EA | 32 | 64 | 0.88 | 1.76 | 60 | 105.6 | 169.6 | 84.8
51 |  | 20A/2P Disconnect Switch | 1 | 0% | 1 | EA | 75 | 75 | 1 | 1 | 60 | 60 | 135 | 135
| E201 | LIGHTING CONTROLS
52 |  | Bluetooth Radio Module W/Timeclock Functionality NXBTC | 1 | 0% | 1 | EA | 375 | 375 | 2 | 2 | 60 | 120 | 495 | 495
53 |  | Dimmer Switch | 1 | 0% | 1 | EA | 20 | 20 | 0.55 | 0.55 | 60 | 33 | 53 | 53
54 |  | Emergency Relay | 1 | 0% | 1 | EA | 75 | 75 | 0.85 | 0.85 | 60 | 51 | 126 | 126
55 |  | Lutron Diva Single Pole Wall Switch - Matte Snow | 4 | 0% | 4 | EA | 18 | 72 | 0.45 | 1.8 | 60 | 108 | 180 | 45
56 |  | NX Lighting Control System Touchscreen, #NXSW-TH3-WH | 1 | 0% | 1 | EA | 275 | 275 | 2 | 2 | 60 | 120 | 395 | 395
57 |  | NXFRD-UNV Forward/Reverse Dim | 4 | 0% | 4 | EA | 125 | 500 | 1 | 4 | 60 | 240 | 740 | 185
58 |  | Remote Driver | 6 | 0% | 6 | EA | 150 | 900 | 2 | 12 | 60 | 720 | 1620 | 270
LIGHTING FIXTURES
59 |  | D1, Chandelier, Mfg: 1st DIBS, #MURANO CHANDELIER W/(52) CARAMAL GLASS PETALS, 7 Light Bulbs, E14, 2700K | 1 | 0% | 1 | EA | 375 | 375 | 3 | 3 | 60 | 180 | 555 | 555
60 |  | D2, Decorative Wall Sconce, Mfg: RH, #MONTREUX Sconce, 2700K, 19W, 2565 LM | 2 | 0% | 2 | EA | 160 | 320 | 2 | 4 | 60 | 240 | 560 | 280
61 |  | D3, Decorative Wall Sconce, Mfg: CB2, #BENDICT White & Black Strip Marble Wall Sconce By GOOP, 12W | 4 | 0% | 4 | EA | 160 | 640 | 2 | 8 | 60 | 480 | 1120 | 280
62 |  | D4, Decorative Wall Sconce, Mfg: Arhaus, #ANDREAS 2-Light Wall Sconce, (2) LED T9 Filament E26 Bulbs, 2200K, 60W | 1 | 0% | 1 | EA | 160 | 160 | 2 | 2 | 60 | 120 | 280 | 280
63 |  | Exit Sign | 8 | 0% | 8 | EA | 145 | 1160 | 1.5 | 12 | 60 | 720 | 1880 | 235
64 |  | KA, 3.5" Dia Recessed Round Adjustable Downlight, Amerlux, #HDL-HP-R-CP-A17-TL-20-120-LE/TE/HDL-HPRA-A17-TL, 20W, 1028 LM, 3000K, 90CRI | 47 | 0% | 47 | EA | 150 | 7050 | 1.5 | 70.5 | 60 | 4230 | 11280 | 240
65 |  | KA-EM, 3.5" Dia Recessed Round Adjustable Downlight W/Emergency Battery Backup, Amerlux, #HDL-HP-R-CP-A17-TL-20-120-LE/TE/HDL-HPRA-A17-TL, 20W, 1028 LM, 3000K, 90CRI | 3 | 0% | 3 | EA | 160 | 480 | 1.5 | 4.5 | 60 | 270 | 750 | 250
66 |  | KA1, 3.5" Dia Recessed Round Adjustable Downlight, Amerlux, #HDL-HP-R-CP-A17-TL-20-120-LE/TE/HDL-HPRA-A17-TL, 20W, 1106 LM, 3000K, 90CRI | 16 | 0% | 16 | EA | 150 | 2400 | 1.5 | 24 | 60 | 1440 | 3840 | 240
67 |  | KA1-EM, 3.5" Dia Recessed Round Adjustable Downlight W/Emergency Battery Backups, Amerlux, #HDL-HP-R-CP-A17-TL-20-120-LE/TE/HDL-HPRA-A17-TL, 20W, 1106 LM, 3000K, 90CRI | 1 | 0% | 1 | EA | 160 | 160 | 1.5 | 1.5 | 60 | 90 | 250 | 250
68 |  | KA2, 3.5" Dia Recessed Round Adjustable Downlight, Amerlux, #HDL-HP-R-CP-A17-TL-20-120-LE/TE/HDL-HPRA-A17-TL, 20W, 1106 LM, 3000K, 90CRI | 20 | 0% | 20 | EA | 150 | 3000 | 1.5 | 30 | 60 | 1800 | 4800 | 240
69 |  | KA3, 3.5" Dia Recessed Round Adjustable Downlight, Amerlux, #HDL-HP-R-CP-A17-TL-20-120-LE/TE/HDL-HPRA-A17-TL, 20W, 1106 LM, 3000K, 90CRI | 18 | 0% | 18 | EA | 150 | 2700 | 1.5 | 27 | 60 | 1620 | 4320 | 240
70 |  | KA3-EM, 3.5" Dia Recessed Round Adjustable Downlight W/Emergency Battery Backups, Amerlux, #HDL-HP-R-CP-A17-TL-20-120-LE/TE/HDL-HPRA-A17-TL, 20W, 1106 LM, 3000K, 90CRI | 3 | 0% | 3 | EA | 160 | 480 | 1.5 | 4.5 | 60 | 270 | 750 | 250
71 |  | KB, Linear LED Strip Light, Feelux, #NDP-30K-C90-STD-S-HWFPTH9/WP, 3.9W/FT, 3000K, 90CRI | 119.03 | 5% | 124.9815 | LF | 38 | 4749.297 | 0.4 | 49.9926 | 60 | 2999.556 | 7748.853 | 62
72 |  | KB1, Linear LED Strip Light, Feelux, #NDP-30K-C90-STD-S-HWFPTH9/WP, 4.4W/FT, 3000K, 90CRI | 37.09 | 5% | 38.9445 | LF | 38 | 1479.891 | 0.4 | 15.5778 | 60 | 934.668 | 2414.559 | 62
73 |  | KC, 2'x2' Edgelit LED Panel Light, Recessed, RAB Lighting, #T34FA2X2-TUNABLE LED WHITE-3000K-6500K, 18W, 2282 LM | 6 | 0% | 6 | EA | 200 | 1200 | 2 | 12 | 60 | 720 | 1920 | 320
74 |  | KC-EM, 2'x2' Edgelit LED Panel Light, Recessed W/ Emergency Battery Backup, RAB Lighting, #T34FA2X2-TUNABLE LED WHITE-3000K-6500K, 18W, 2282 LM | 3 | 0% | 3 | EA | 220 | 660 | 2 | 6 | 60 | 360 | 1020 | 340
75 |  | KD, Grazer, Surface Mounted, Acolyte, #CHAS20G-G-HOUSING COLOR-RB-90-SWS220, 6W/FT, 526.3 LM/FT, 3000K, 90CRI | 50.5 | 5% | 53.025 | LF | 38 | 2014.95 | 0.4 | 21.21 | 60 | 1272.6 | 3287.55 | 62
| E401 | POWER DISTRIBUTION
76 |  | Transformer XFMR, 75 kVA, 480V, 3 Phase Primary, 208V/120Y Secondary | 1 | 0% | 1 | EA | 12000 | 12000 | 80 | 80 | 60 | 4800 | 16800 | 16800
CIRCUIT BREAKERS
77 |  | 15 Amp/3 Pole HACR Breaker | 1 | 0% | 1 | EA | 45 | 45 | 0.76 | 0.76 | 60 | 45.6 | 90.6 | 90.6
78 |  | 20 Amp/1 Pole Breaker | 76 | 0% | 76 | EA | 30 | 2280 | 0.4 | 30.4 | 60 | 1824 | 4104 | 54
79 |  | 20 Amp/1 Pole Handle Lock-On Breaker | 5 | 0% | 5 | EA | 30 | 150 | 0.4 | 2 | 60 | 120 | 270 | 54
80 |  | 20 Amp/2 Pole Breaker | 1 | 0% | 1 | EA | 36 | 36 | 0.5 | 0.5 | 60 | 30 | 66 | 66
81 |  | 20 Amp/3 Pole HACR Breaker | 1 | 0% | 1 | EA | 55 | 55 | 0.8 | 0.8 | 60 | 48 | 103 | 103
82 |  | 100 Amp/3 Pole Breaker | 1 | 0% | 1 | EA | 115 | 115 | 1 | 1 | 60 | 60 | 175 | 175
83 |  | 110 Amp/3 Pole HACR Breaker | 1 | 0% | 1 | EA | 115 | 115 | 1 | 1 | 60 | 60 | 175 | 175
| E101, E201 | MISCELLANEOUS
84 |  | Ground Rod | 1 | 0% | 1 | EA | 115 | 115 | 1 | 1 | 60 | 60 | 175 | 175
85 |  | Junction Box (Galvanized Steel) | 9 | 0% | 9 | EA | 90 | 810 | 1 | 9 | 60 | 540 | 1350 | 150
86 |  | Thermostat W/Junction Box | 1 | 0% | 1 | EA | 200 | 200 | 1.5 | 1.5 | 60 | 90 | 290 | 290
| 27. COMMUNICATIONS | [9 empty] | 60 |  | 7746.3245
| E101 | WIRES & CONDUITS
87 |  | 4#16 AWG Shielded Wire | 68.2 | 5% | 71.61 | LF | 0.45 | 32.2245 | 0.02 | 1.4322 | 60 | 85.932 | 118.1565 | 1.65
88 |  | CAT6 Cable | 289.23 | 5% | 303.6915 | LF | 0.65 | 197.3995 | 0.032 | 9.7181 | 60 | 583.0877 | 780.4872 | 2.57
89 |  | 3/4" EMT Conduit | 441 | 5% | 463.05 | LF | 1.14 | 527.877 | 0.05 | 23.1525 | 60 | 1389.15 | 1917.027 | 4.14
90 |  | 3/4" Conn Ss Stl - Emt | 36 | 0% | 36 | EA
91 |  | 3/4" Coupling Ss Stl - Emt | 45 | 0% | 45 | EA
92 |  | 3/4" 1-H Strap - Emt - Steel | 66 | 0% | 66 | EA
93 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 88 | 0% | 88 | EA
94 |  | #10 X 1 P/H Self-Tap Screw | 88 | 0% | 88 | EA
95 |  | 1" EMT Conduit | 97.05 | 5% | 101.9025 | LF | 1.45 | 147.7586 | 0.055 | 5.6046 | 60 | 336.2783 | 484.0369 | 4.75
96 |  | 1" Conn Ss Stl - Emt | 8 | 0% | 8 | EA
97 |  | 1" Coupling Ss Stl - Emt | 10 | 0% | 10 | EA
98 |  | 1" 1-H Strap - Emt - Steel | 15 | 0% | 15 | EA
99 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 20 | 0% | 20 | EA
100 |  | #10 X 1 P/H Self-Tap Screw | 20 | 0% | 20 | EA
101 |  | 1" EMT Conduit W/ Nylon Pull Wire | 7.04 | 5% | 7.392 | LF | 1.67 | 12.3446 | 0.066 | 0.48787 | 60 | 29.2723 | 41.617 | 5.63
AV COMMUNICATION DEVICES
102 |  | SP, Sound System Speaker W/ Galvanized, 1-Piece Pressed Steel Knockout Back Box | 4 | 0% | 4 | EA | 475 | 1900 | 4 | 16 | 60 | 960 | 2860 | 715
TELECOMMUNICATION DEVICES
103 |  | 3/4" FRT Plywood Telephone Backboard | 1 | 0% | 1 | EA | 75 | 75 | 2 | 2 | 60 | 120 | 195 | 195
104 |  | NTW, Network Rack Wall Mounted, Tripp Lite 12U #SRW12US | 1 | 0% | 1 | EA | 125 | 125 | 3 | 3 | 60 | 180 | 305 | 305
105 |  | Tel/Data Outlet | 4 | 0% | 4 | EA | 88 | 352 | 0.75 | 3 | 60 | 180 | 532 | 133
106 |  | Traffic Counter W/ Galvanized, 1-Piece Pressed Steel Knockout Back Box | 1 | 0% | 1 | EA | 125 | 125 | 2 | 2 | 60 | 120 | 245 | 245
107 |  | Wireless Access Point W/ Galvanized, 1-Piece Pressed Steel Knockout Back Box | 2 | 0% | 2 | EA | 74 | 148 | 1 | 2 | 60 | 120 | 268 | 134
| 28. ELECTRONIC SAFETY & SECURITY | [9 empty] | 60 |  | 13246.905
| E101 | WIRES & CONDUITS
108 |  | 2#14 FPLP | 105.62 | 5% | 110.901 | LF | 0.5 | 55.4505 | 0.032 | 3.5488 | 60 | 212.9299 | 268.3804 | 2.42
109 |  | CAT6 CMP Cable | 217.69 | 5% | 228.5745 | LF | 0.65 | 148.5734 | 0.032 | 7.3144 | 60 | 438.863 | 587.4365 | 2.57
110 |  | 1" EMT Conduit | 212.95 | 5% | 223.5975 | LF | 1.45 | 324.2164 | 0.055 | 12.2979 | 60 | 737.8717 | 1062.0881 | 4.75
111 |  | 1" Conn Ss Stl - Emt | 18 | 0% | 18 | EA
112 |  | 1" Coupling Ss Stl - Emt | 22 | 0% | 22 | EA
113 |  | 1" 1-H Strap - Emt - Steel | 33 | 0% | 33 | EA
114 |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 44 | 0% | 44 | EA
115 |  | #10 X 1 P/H Self-Tap Screw | 44 | 0% | 44 | EA
FIRE ALARM DEVICES
116 |  | FEC, Fire Alarm Control Panel | 1 | 0% | 1 | EA | 1200 | 1200 | 6 | 6 | 60 | 360 | 1560 | 1560
117 |  | Fire Alarm Combination Horn/Strobe Unit | 7 | 0% | 7 | EA | 475 | 3325 | 3 | 21 | 60 | 1260 | 4585 | 655
118 |  | Fire Alarm Strobe Unit | 1 | 0% | 1 | EA | 324 | 324 | 2 | 2 | 60 | 120 | 444 | 444
Note: Tenants EC Shall Include In His Bid The Cost Of Complete Functional FA System To Meet LL & Code Requirements All FA Work To Be At Tenants EC Expense
SECURITY DEVICES
119 |  | Security Camera W/ Galvanized, 1-Piece Pressed Steel Knockout Back Box | 6 | 0% | 6 | EA | 550 | 3300 | 4 | 24 | 60 | 1440 | 4740 | 790
NOTES FOR CLIENTS | [9 empty] | SUBTOTAL |  |  |  | 138886.401
THIS EXCEL STATEMENT IS EDITABLE AND CAN BE MODIFIED AS NEEDED.
GENERAL CONDITIONS
[10 empty] | PROFIT |  | 20% |  | 27777.2802
[10 empty] | CONTINGENCY |  | 1% |  | 1388.864
168052.5452
[10 empty] | 901.317 | Total Man-hours
[10 empty] | 4 | Crew Size
[10 empty] | 28.1662 | Working Days
[10 empty] | 1.4083 | Months