## SUMMARY
MATERIAL TAKEOFF AND COST ESTIMATE STATEMENT
PROJECT NAME: |  | Industrial Electrical Sample
LOCATION: |  | 0 |  | TOTAL AREA(SF) |  | 32406
Area May Vary
Sr # | REFERENCE | DESCRIPTION |  |  | TOTAL COST | $COST/SF | 13.3604
DIVISION WISE SUMMARY | [6 empty] | 346366.0127
CSI DIVISIONS
1 |  | 01-General Conditions |  |  | 15500 | 0.47831
2 |  | 26-Electrical |  |  | 322502.0044 | 9.9519
3 |  | 27- Communication |  |  | 5336.8783 | 0.16469
4 |  | 28- Electronic Safety & Security |  |  | 3027.13 | 0.093413
SUB TOTAL | [6 empty] | 346366.0127
OVERHEAD |  |  | 10% |  |  |  | 34636.6013
PROFIT |  |  | 10% |  |  |  | 34636.6013
INSURANCE |  |  | 0% |  |  |  | 0
CONTINGENCY |  |  | 5% |  |  |  | 17318.3006
NET TOTAL | [6 empty] | 432957.5159
NOTES: PRICES OF LABOR AND MATERIALS ARE TAKEN FROM ONLINE MARKET RESOURCES AND CAN DIFFER FROM LOCAL VENDOR/SUPPLIER, RESPECTED CLIENTS ARE ADVISED TO DOUBLE CHECK TO MAKE SURE THE BID IS COMPETITIVE.

## ESTIMATE
Sr # | REFERENCE | DESCRIPTION | QUANTITY | WASTE | TOTAL QTY | UNIT | COST/UNIT | MATERIAL TOTAL | LABOR $/UNIT | TOTAL MANHOURS | EFFICIENCY (UNIT/HRs) | LABOR RATE | TOTAL LABOR COST | LABOR + MAT TOTAL COST | L+M UNIT COST
Units Legends; LS=Lump sum, LF=Linear Footage, CY=Cubic Yard, SF=Square Footage, EA=Count/Each
| PROJECT | Industrial Electrical Sample | [8 empty] | BUILDER COST |  | 346366.0127
| ADDRESS | [9 empty] | TOTAL BID COST |  | 432957.5159
| 01. GENERAL CONDITIONS | [12 empty] | 15500
INDIRECT PROJECT COSTS
1 |  | General Liability Insurance | 1 | 0% | 1 | LS | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2 |  | General Conditions (Backoffice Overhead) | 1 | 0% | 1 | LS | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
DIRECT PROJECT COSTS
3 |  | Bonding Fee (If required) | 1 | 0% | 1 | LS | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
4 |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
5 |  | Equipment Rental | 1 | 0% | 1 | LS | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
6 |  | Travel, Tools, Gas | 1 | 0% | 1 | LS | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
7 |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 5500 |  |  |  | 5500 | 5500 | 0
8 |  | Temp. Facilities | 1 | 0% | 1 | LS | 0 | 0 | 8000 |  |  |  | 8000 | 8000 | 0
9 |  | Temp. Signage and Protection | 1 | 0% | 1 | LS | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
10 |  | Temp. Fencing | 1 | 0% | 1 | LS | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
11 |  | Field Superintendent/Foreman (Full Time) | 1 | 0% | 1 | LS | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
12 |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 2000 |  |  |  | 2000 | 2000 | 0
| 26. ELECTRICAL | [10 empty] | 80 |  | 322502.0044
| E-101,E-102,E103,E104,E105 | WIRING & CONDUITS
13 |  | #14 AWG THWN Cu | 1114.72 | 5% | 1170.456 | LF | 0.23 | 269.2049 | 1.32 | 18.3929 | 60.6061 | 80 | 1471.4304 | 1740.6353 | 1.4871
14 |  | #12 AWG THWN Cu | 6838 | 5% | 7179.9 | LF | 0.33 | 2369.367 | 1.32 | 112.827 | 60.6061 | 80 | 9026.16 | 11395.527 | 1.5871
15 |  | #10 AWG THWN Cu | 17605 | 5% | 18485.25 | LF | 0.36 | 6654.69 | 1.32 | 290.4825 | 60.6061 | 80 | 23238.6 | 29893.29 | 1.6171
16 |  | #8 AWG THWN Cu | 18290 | 5% | 19204.5 | LF | 0.92 | 17668.14 | 1.32 | 301.785 | 60.6061 | 80 | 24142.8 | 41810.94 | 2.1771
17 |  | #6 AWG THWN Cu | 1070 | 5% | 1123.5 | LF | 1.17 | 1314.495 | 1.32 | 17.655 | 60.6061 | 80 | 1412.4 | 2726.895 | 2.4271
18 |  | #4 AWG THWN Cu | 113.4 | 5% | 119.07 | LF | 1.7 | 202.419 | 1.32 | 1.8711 | 60.6061 | 80 | 149.688 | 352.107 | 2.9571
19 |  | #1 AWG THWN Cu | 253.92 | 5% | 266.616 | LF | 3.25 | 866.502 | 1.32 | 4.1897 | 60.6061 | 80 | 335.1744 | 1201.6764 | 4.5071
20 |  | #1/0 AWG GND Cu | 25 | 5% | 26.25 | LF | 4.03 | 105.7875 | 1.58 | 0.49375 | 50.6329 | 80 | 39.5 | 145.2875 | 5.5348
21 |  | #3/0 AWG THWN Cu | 453.6 | 5% | 476.28 | LF | 6.33 | 3014.8524 | 1.58 | 8.9586 | 50.6329 | 80 | 716.688 | 3731.5404 | 7.8348
22 |  | 3/4" EMT Conduit | 9133 | 5% | 9589.65 | LF | 1.083 | 10385.5909 | 2.64 | 301.389 | 30.303 | 80 | 24111.12 | 34496.7109 | 3.5973
23 |  | 3/4" FMC Conduit | 11.97 | 5% | 12.5685 | LF | 0.99 | 12.4428 | 2.64 | 0.39501 | 30.303 | 80 | 31.6008 | 44.0436 | 3.5043
24 |  | 3/4" RGS Conduit | 485 | 5% | 509.25 | LF | 3.605 | 1835.8463 | 2.64 | 16.005 | 30.303 | 80 | 1280.4 | 3116.2463 | 6.1193
25 |  | 1" EMT Conduit | 4586 | 5% | 4815.3 | LF | 1.64 | 7897.092 | 3.07 | 175.9877 | 26.0586 | 80 | 14079.02 | 21976.112 | 4.5638
26 |  | 1" RGS Conduit | 591.67 | 5% | 621.2535 | LF | 5.22 | 3242.9433 | 3.07 | 22.7053 | 26.0586 | 80 | 1816.4269 | 5059.3702 | 8.1438
27 |  | 1-1/4" RGS Conduit | 286.92 | 5% | 301.266 | LF | 7.552 | 2275.1608 | 3.69 | 13.2342 | 21.6802 | 80 | 1058.7348 | 3333.8956 | 11.0663
28 |  | 1-1/2" EMT Conduit | 84.64 | 5% | 88.872 | LF | 3.34 | 296.8325 | 3.69 | 3.904 | 21.6802 | 80 | 312.3216 | 609.1541 | 6.8543
29 |  | 2" EMT Conduit | 113.4 | 5% | 119.07 | LF | 3.92 | 466.7544 | 4.57 | 6.478 | 17.5055 | 80 | 518.238 | 984.9924 | 8.2724
RECEPTACLES & DISCONNECT SWITCHES
30 |  | Special Purpose Receptacle | 6 | 0% | 6 | EA | 36.33 | 217.98 | 95.59 | 7.1692 | 0.83691 | 80 | 573.54 | 791.52 | 131.92
31 |  | 20A-125V IG Quadraplex Receptacle | 7 | 0% | 7 | EA | 38.14 | 266.98 | 100.36 | 8.7815 | 0.79713 | 80 | 702.52 | 969.5 | 138.5
32 |  | Surface Mounted Quad Receptacle | 43 | 0% | 43 | EA | 35.15 | 1511.45 | 92.49 | 49.7134 | 0.86496 | 80 | 3977.07 | 5488.52 | 127.64
33 |  | Wall Mounted Quad Receptacle | 8 | 0% | 8 | EA | 32.8 | 262.4 | 86.31 | 8.631 | 0.92689 | 80 | 690.48 | 952.88 | 119.11
34 |  | Wall Mounted Duplex Receptacle | 22 | 0% | 22 | EA | 20.33 | 447.26 | 53.5 | 14.7125 | 1.4953 | 80 | 1177 | 1624.26 | 73.83
35 |  | 20A-125v GFCI Duplex Receptacle | 13 | 0% | 13 | EA | 22.54 | 293.02 | 59.31 | 9.6379 | 1.3488 | 80 | 771.03 | 1064.05 | 81.85
36 |  | Duplex Receptacle W/ Nema 5-30R | 1 | 0% | 1 | EA | 23.68 | 23.68 | 62.31 | 0.77887 | 1.2839 | 80 | 62.31 | 85.99 | 85.99
37 |  | 20A-125v Duplex Receptacle | 12 | 0% | 12 | EA | 20.33 | 243.96 | 53.5 | 8.025 | 1.4953 | 80 | 642 | 885.96 | 73.83
38 |  | Floor Box w/ 20A-125v Duplex Receptacle Wiremold # 880CS1-1,#818TCAL,#828R-TCAl | 1 | 0% | 1 | EA | 474.75 | 474.75 | 196.46 | 2.4557 | 0.40721 | 80 | 196.46 | 671.21 | 671.21
39 |  | 20A-125v Duplex Receptacle | 17 | 0% | 17 | EA | 20.33 | 345.61 | 53.5 | 11.3688 | 1.4953 | 80 | 909.5 | 1255.11 | 73.83
40 |  | 20A-125v WP GFCI Duplex Receptacle | 8 | 0% | 8 | EA | 29.2 | 233.6 | 76.83 | 7.683 | 1.0413 | 80 | 614.64 | 848.24 | 106.03
41 |  | 30Amp - 2 Pole Disconnect Switch | 2 | 0% | 2 | EA | 98.28 | 196.56 | 103.44 | 2.586 | 0.7734 | 80 | 206.88 | 403.44 | 201.72
42 |  | 30Amp - 3 Pole Disconnect Switch | 1 | 0% | 1 | EA | 113.022 | 113.022 | 118.95 | 1.4869 | 0.67255 | 80 | 118.95 | 231.972 | 231.972
43 |  | 30Amp - 3 Pole WP Disconnect Switch | 1 | 0% | 1 | EA | 113.022 | 113.022 | 118.95 | 1.4869 | 0.67255 | 80 | 118.95 | 231.972 | 231.972
44 |  | 60Amp - 3 Pole WP Disconnect Switch | 2 | 0% | 2 | EA | 226.044 | 452.088 | 178.43 | 4.4607 | 0.44836 | 80 | 356.86 | 808.948 | 404.474
45 |  | 60AAmp - 2 Pole Wp Disconnect Switch | 1 | 0% | 1 | EA | 196.56 | 196.56 | 155.16 | 1.9395 | 0.5156 | 80 | 155.16 | 351.72 | 351.72
46 |  | Single 30 AMP Twist Lock Nema L5-30R Receptacle | 1 | 0% | 1 | EA | 26.95 | 26.95 | 70.91 | 0.88638 | 1.1282 | 80 | 70.91 | 97.86 | 97.86
LIGHTING CONTROLS
47 |  | Motor Switch | 3 | 0% | 3 | EA | 48.12 | 144.36 | 103.5 | 3.8813 | 0.77295 | 80 | 310.5 | 454.86 | 151.62
48 |  | Wall Mounted Occupancy Sensor | 5 | 0% | 5 | EA | 52.19 | 260.95 | 109.64 | 6.8525 | 0.72966 | 80 | 548.2 | 809.15 | 161.83
49 |  | Ceiling Mounted Occupancy Sensor | 8 | 0% | 8 | EA | 58.5 | 468 | 112.27 | 11.227 | 0.71257 | 80 | 898.16 | 1366.16 | 170.77
50 |  | Single Pole Switch | 6 | 0% | 6 | EA | 18.5 | 111 | 48.68 | 3.651 | 1.6434 | 80 | 292.08 | 403.08 | 67.18
51 |  | 4 Way Switch | 1 | 0% | 1 | EA | 41.2 | 41.2 | 108.41 | 1.3551 | 0.73794 | 80 | 108.41 | 149.61 | 149.61
52 |  | Occupancy Sensor Switch | 4 | 0% | 4 | EA | 30.63 | 122.52 | 80.6 | 4.03 | 0.99256 | 80 | 322.4 | 444.92 | 111.23
53 |  | Photocell, Mfg: Intermatic, #K4221 | 1 | 0% | 1 | EA | 26.18 | 26.18 | 59.64 | 0.7455 | 1.3414 | 80 | 59.64 | 85.82 | 85.82
54 |  | Power Pack | 1 | 0% | 1 | EA | 68.14 | 68.14 | 96.48 | 1.206 | 0.82919 | 80 | 96.48 | 164.62 | 164.62
55 |  | 100-Watt Driver For Power Provided By Barnes Installed BY Barnes | 84 | 0% | 84 | EA | 45.08 | 3786.72 | 65.78 | 69.069 | 1.2162 | 80 | 5525.52 | 9312.24 | 110.86
LIGHTING FIXTURES
56 |  | HB, High Bay Halogen Lightings, Mfg; NUVO, #SF76-283, L16A19N1530K, Finish : White, 15 VAE | 67 | 0% | 67 | EA | 67.99 | 4555.33 | 65.6 | 54.94 | 1.2195 | 80 | 4395.2 | 8950.53 | 133.59
57 |  | HB-B, High Bay Halogen Lightings, Mfg; NUVO, #SF76-283, L16A19N1530K, Finish : White, 15 VAE | 8 | 0% | 8 | EA | 67.99 | 543.92 | 65.6 | 6.56 | 1.2195 | 80 | 524.8 | 1068.72 | 133.59
58 |  | LW-01, New Track Heads, Mfg; Attain Led Track Head Hp, #AT-25-35-95-24-WH-J, 22VAE | 316 | 0% | 316 | EA | 56.57 | 17876.12 | 54.58 | 215.591 | 1.4657 | 80 | 17247.28 | 35123.4 | 111.15
59 |  | LWT-01 Track, New Pendant Mounted, Mfg; Contech Single Circuit Line Voltage Track Various Lengths- White Unistrut and Hanging Hardware | 1057 | 5% | 1109.85 | LF | 12.75 | 14150.5875 | 13.42 | 177.3118 | 5.9613 | 80 | 14184.94 | 28335.5275 | 25.531
60 |  | A1, BOH Lighting, Mfg; Lithonia Lighting, #TZL1N LED L96 10000LM FST MVOLTS 30K 80CRI PLR E7W WH, 68VAE | 15 | 0% | 15 | EA | 283.36 | 4250.4 | 211.25 | 39.6094 | 0.3787 | 80 | 3168.75 | 7419.15 | 494.61
61 |  | A2, Office and Break Room Lighting, Mfg; DT BY TCP, #DTF2UZD3835K, 38VAE | 12 | 0% | 12 | EA | 55.49 | 665.88 | 53.54 | 8.031 | 1.4942 | 80 | 642.48 | 1308.36 | 109.03
62 |  | A3, Attain 2 FT. X 4 FT. Integrated LED 4000 Lumens 4000K 120V Commercial Grade Recessed Troffer W/ Prismatic Lenses, 46 VAE | 6 | 0% | 6 | EA | 66.47 | 398.82 | 64.13 | 4.8098 | 1.2475 | 80 | 384.78 | 783.6 | 130.6
63 |  | X1, Thermoplastic Led Exit Sign, Mfg; Best Lighting, #EZXTEU-2RW-EW BATTERY BACKUP WITH 90 MIN EMERGRNCY ILLUMINATION, 3.8VAE | 6 | 0% | 6 | EA | 30.28 | 181.68 | 29.22 | 2.1915 | 2.7379 | 80 | 175.32 | 357 | 59.5
64 |  | X2, LED Exit Sign And Emergency Light, Thermoplastic Combo, Mfg; Best Lighting, #LEDCXTEU-2-R-W-RC BATTERY BACKUP WITH 90 MIN EMERGRNCY ILLUMINATION, 5VAE | 2 | 0% | 2 | EA | 58.92 | 117.84 | 56.85 | 1.4213 | 1.4072 | 80 | 113.7 | 231.54 | 115.77
65 |  | EM2, Exterior Emergency Light, Mfg; Best Lighting, #Led High Lumen Thermoplastic HPEM, 2 VAE | 2 | 0% | 2 | EA | 114.24 | 228.48 | 110.22 | 2.7555 | 0.72582 | 80 | 220.44 | 448.92 | 224.46
66 |  | EM1, Emergency Light, Mfg; Astralite, #EU-5-LED, 5VAE | 29 | 0% | 29 | EA | 224.24 | 6502.96 | 177.01 | 64.1661 | 0.45195 | 80 | 5133.29 | 11636.25 | 401.25
67 |  | D4, 4'' Diameter Led Downlight, Mfg; Attain Led, #AT-DL4-12-35-WH, 12VAE | 25 | 0% | 25 | EA | 51.34 | 1283.5 | 49.54 | 15.4812 | 1.6149 | 80 | 1238.5 | 2522 | 100.88
68 |  | D6, 6'' Diameter Led Downlight, Mfg; Maxi Lume, #H6-LED-2000L-DIM10-120-MD-35K-90/ L607 SHZ WH, 32VAE | 50 | 0% | 50 | EA | 39.99 | 1999.5 | 38.59 | 24.1187 | 2.0731 | 80 | 1929.5 | 3929 | 78.58
69 |  | PD1, 11 3/8'' Diameter Green Glass Pendant, Mfg; Specialty Lighting, 60 VAE | 4 | 0% | 4 | EA | 439.85 | 1759.4 | 270.04 | 13.502 | 0.29625 | 80 | 1080.16 | 2839.56 | 709.89
POWER DISTRIBUTION
70 |  | HVAC E-Stat Panel | 1 | 0% | 1 | EA | 259.99 | 259.99 | 162.26 | 2.0282 | 0.49304 | 80 | 162.26 | 422.25 | 422.25
71 |  | Lightstat | 1 | 0% | 1 | EA | 79.99 | 79.99 | 100.86 | 1.2608 | 0.79318 | 80 | 100.86 | 180.85 | 180.85
72 |  | Panel K, 200Amp, 120/208V, 3 Phase, 4 Wire | 1 | 0% | 1 | EA | 1289 | 1289 | 543.77 | 6.7971 | 0.14712 | 80 | 543.77 | 1832.77 | 1832.77
73 |  | Transformer T1, 75 kVA, 480V - 208/120V | 1 | 0% | 1 | EA | 4968.09 | 4968.09 | 1315.57 | 16.4446 | 0.06081 | 80 | 1315.57 | 6283.66 | 6283.66
CIRCUIT BREAKERS
74 |  | 60 Amp - 3 Pole HACR Rated Breaker | 2 | 0% | 2 | EA | 160.695 | 321.39 | 211.41 | 5.2852 | 0.37841 | 80 | 422.82 | 744.21 | 372.105
75 |  | 30 Amp - 3 Pole HACR Rated Breaker | 1 | 0% | 1 | EA | 80.3475 | 80.3475 | 126.85 | 1.5856 | 0.63067 | 80 | 126.85 | 207.1975 | 207.1975
76 |  | 30 Amp - 1 Pole W/ Handle Lock On Breaker | 2 | 0% | 2 | EA | 57.7575 | 115.515 | 91.19 | 2.2798 | 0.87729 | 80 | 182.38 | 297.895 | 148.9475
77 |  | 20 Amp - 1 Pole W/ Handle Lock On Breaker | 3 | 0% | 3 | EA | 38.505 | 115.515 | 60.79 | 2.2796 | 1.316 | 80 | 182.37 | 297.885 | 99.295
78 |  | 15 Amp - 2 Pole W/ Handle Lock On Breaker | 1 | 0% | 1 | EA | 36 | 36 | 56.84 | 0.7105 | 1.4075 | 80 | 56.84 | 92.84 | 92.84
79 |  | 25 Amp - 2 Pole W/ Handle Lock On Breaker | 1 | 0% | 1 | EA | 60 | 60 | 94.73 | 1.1841 | 0.84451 | 80 | 94.73 | 154.73 | 154.73
80 |  | 50 Amp - 3 Pole W/ Handle Lock On Breaker | 1 | 0% | 1 | EA | 133.9125 | 133.9125 | 176.18 | 2.2022 | 0.45408 | 80 | 176.18 | 310.0925 | 310.0925
81 |  | 20 Amp - 1 Pole W/ Handle Lock On Breaker | 1 | 0% | 1 | EA | 38.505 | 38.505 | 60.79 | 0.75987 | 1.316 | 80 | 60.79 | 99.295 | 99.295
82 |  | 20 Amp - 1 Pole IG Breaker | 4 | 0% | 4 | EA | 38.505 | 154.02 | 60.79 | 3.0395 | 1.316 | 80 | 243.16 | 397.18 | 99.295
83 |  | 30 Amp - 2 Pole GFIC Breaker | 2 | 0% | 2 | EA | 72 | 144 | 113.67 | 2.8418 | 0.70379 | 80 | 227.34 | 371.34 | 185.67
84 |  | 20 Amp - 1 Pole GFIC Breaker | 6 | 0% | 6 | EA | 38.505 | 231.03 | 60.79 | 4.5593 | 1.316 | 80 | 364.74 | 595.77 | 99.295
85 |  | 15 Amp - 1 Pole GFIC Breaker | 5 | 0% | 5 | EA | 28.8788 | 144.3938 | 45.6 | 2.85 | 1.7544 | 80 | 228 | 372.3938 | 74.4788
86 |  | 40 Amp - 2 Pole GFIC Breaker | 1 | 0% | 1 | EA | 96 | 96 | 151.56 | 1.8945 | 0.52784 | 80 | 151.56 | 247.56 | 247.56
87 |  | 125 Amp - 3 Pole Breaker | 1 | 0% | 1 | EA | 223.1875 | 223.1875 | 215.32 | 2.6915 | 0.37154 | 80 | 215.32 | 438.5075 | 438.5075
88 |  | 20 Amp - 1 Pole Breaker | 107 | 0% | 107 | EA | 25.67 | 2746.69 | 40.53 | 54.2089 | 1.9738 | 80 | 4336.71 | 7083.4 | 66.2
89 |  | 30 Amp - 1 Pole Breaker | 2 | 0% | 2 | EA | 38.505 | 77.01 | 60.79 | 1.5197 | 1.316 | 80 | 121.58 | 198.59 | 99.295
90 |  | 15 Amp - 1 Pole Breaker | 2 | 0% | 2 | EA | 19.2525 | 38.505 | 30.4 | 0.76 | 2.6316 | 80 | 60.8 | 99.305 | 49.6525
91 |  | 20 Amp - 3 Pole Breaker | 1 | 0% | 1 | EA | 35.71 | 35.71 | 56.38 | 0.70475 | 1.4189 | 80 | 56.38 | 92.09 | 92.09
MISCELLANEOUS
92 |  | Thermostat | 2 | 0% | 2 | EA | 214 | 428 | 127.18 | 3.1795 | 0.62903 | 80 | 254.36 | 682.36 | 341.18
93 |  | Temperature sensor | 2 | 0% | 2 | EA | 65.7 | 131.4 | 96.48 | 2.412 | 0.82919 | 80 | 192.96 | 324.36 | 162.18
94 |  | Junction Box | 45 | 0% | 45 | EA | 17 | 765 | 44.73 | 25.1606 | 1.7885 | 80 | 2012.85 | 2777.85 | 61.73
95 |  | Recessed Mounted Multiple Gang | 4 | 0% | 4 | EA | 13.68 | 54.72 | 36 | 1.8 | 2.2222 | 80 | 144 | 198.72 | 49.68
96 |  | Ground Rod | 1 | 0% | 1 | EA | 62.8 | 62.8 | 110.51 | 1.3814 | 0.72392 | 80 | 110.51 | 173.31 | 173.31
| 27. COMMUNICATIONS | [10 empty] | 80 |  | 5336.8783
| E-101,E-102,E103,E104,E105 | WIRING & CONDUITS
97 |  | 3/4" EMT Conduit W/ Pull Wire | 151.79 | 0% | 151.79 | LS | 1.383 | 209.9256 | 2.81 | 5.3316 | 28.4698 | 80 | 426.5299 | 636.4555 | 4.193
98 |  | 1" EMT Conduits W/ Pull Wire | 40 | 0% | 40 | LS | 1.94 | 77.6 | 3.25 | 1.625 | 24.6154 | 80 | 130 | 207.6 | 5.19
99 |  | 1-1/2" EMT Conduit W/ Pull Wire | 253.28 | 0% | 253.28 | LS | 3.64 | 921.9392 | 4.13 | 13.0756 | 19.3705 | 80 | 1046.0464 | 1967.9856 | 7.77
100 |  | 3" EMT Conduit | 11.67 | 0% | 11.67 | LS | 7.89 | 92.0763 | 5.27 | 0.76876 | 15.1803 | 80 | 61.5009 | 153.5772 | 13.16
Note: B&N Vendor To Provide & Install All CAT6 Cabling, RJ45 Terminations, Hubs, Transformers & Surge Protectors As Required
TELECOMMUNICATION DEVICES
101 |  | Data Outlet | 16 | 0% | 16 | EA | 18.5 | 296 | 48.68 | 9.736 | 1.6434 | 80 | 778.88 | 1074.88 | 67.18
102 |  | Computer System Patch Panels | 1 | 0% | 1 | EA | 218.1 | 218.1 | 118.41 | 1.4801 | 0.67562 | 80 | 118.41 | 336.51 | 336.51
103 |  | 4'x8' FRT Plywood Sheet | 1 | 0% | 1 | EA | 45.2 | 45.2 | 96.48 | 1.206 | 0.82919 | 80 | 96.48 | 141.68 | 141.68
104 |  | Vol control box | 1 | 0% | 1 | EA | 284.95 | 284.95 | 197.34 | 2.4668 | 0.40539 | 80 | 197.34 | 482.29 | 482.29
105 |  | Wall Communication Outlet | 5 | 0% | 5 | EA | 18.5 | 92.5 | 48.68 | 3.0425 | 1.6434 | 80 | 243.4 | 335.9 | 67.18
| 28. ELECTRONIC SAFETY & SECURITY | [10 empty] | 80 |  | 3027.13
| E-101,E-102,E103,E104,E105 | FIRE ALARM DEVICES
106 |  | Carbon Monoxide Detector | 6 | 0% | 6 | EA | 85.2 | 511.2 | 124.54 | 9.3405 | 0.64236 | 80 | 747.24 | 1258.44 | 209.74
107 |  | Duct Smoke Detector | 6 | 0% | 6 | EA | 63.14 | 378.84 | 112.27 | 8.4203 | 0.71257 | 80 | 673.62 | 1052.46 | 175.41
SECURITY DEVICES
108 |  | Buzzer (Push Button) Edwards #600 | 2 | 0% | 2 | EA | 89 | 178 | 100.86 | 2.5215 | 0.79318 | 80 | 201.72 | 379.72 | 189.86
109 |  | CCTV Patch Panels | 1 | 0% | 1 | EA | 218.1 | 218.1 | 118.41 | 1.4801 | 0.67562 | 80 | 118.41 | 336.51 | 336.51
NOTES FOR CLIENTS | [9 empty] | SUBTOTAL |  |  |  |  | 346366.0127
THIS EXCEL STATEMENT IS EDITABLE AND CAN BE MODIFIED AS NEEDED.
GENERAL CONDITIONS
[10 empty] | OVERHEAD |  |  | 10% |  | 34636.6013
[10 empty] | PROFIT |  |  | 10% |  | 34636.6013
[10 empty] | INSURANCE |  |  | 0% |  | 0
[10 empty] | CONTINGENCY |  |  | 5% |  | 17318.3006
432957.5159
[10 empty] | 2383.3795 | Total Manhours
[10 empty] | 18 | Crew Size
[10 empty] | 16.5512 | Working Days
[10 empty] | 0.82756 | Months