## BASEBID
Estimate of Materials and Cost of Construction
|  |  | Project: | Remodel Sample
Project Location:
ITEM # | REF. SHEET | DETAIL | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT LABOR HOUR | TOTAL MANHOURS | LABOR $/HR | TOTAL LABOR COST | LABOR + MAT TOTAL COST | TRADE COST
|  |  | DIV-01 | GENERAL | [11 empty] | 0
INDIRECT PROJECT COSTS
1 |  |  |  | General Liability Insurance | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
2 |  |  |  | General Conditions (Backoffice Overhead) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
DIRECT PROJECT COSTS
3 |  |  |  | Bonding Fee (If required) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
4 |  |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
5 |  |  |  | Equipment Rental | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
6 |  |  |  | Travel, Tools, Gas | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
7 |  |  |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
8 |  |  |  | Temp. Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
9 |  |  |  | Temp. Signage and Protection | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
10 |  |  |  | Temp. Fencing | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
11 |  |  |  | Field Superintendent/Foreman (Full Time) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
12 |  |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 |  | 0
|  |  | DIV-02 | SELECTIVE REMOVALS AND DEMOLITIONS | [8 empty] | 60 |  |  | 16004.3797
Demolition
13 |  |  |  | 6" Sawcut For Concrete Slab Removal | 516.87 | 0% | 516.87 | LF | 0 | 0 | 0.11 | 56.8557 | 60 | 3411.342 | 3411.342
14 |  |  |  | Sawcut Existing Sanitary Lines & Remove in Place | 16.11 | 0% | 16.11 | LF | 0 | 0 | 0.13 | 2.0943 | 60 | 125.658 | 125.658
15 |  |  |  | Sawcut For Remove Underslab Piping | 57.12 | 0% | 57.12 | LF | 0 | 0 | 0.12 | 6.8544 | 60 | 411.264 | 411.264
16 |  |  |  | Remove Existing Slab & Sub-Base | 1289.17 | 0% | 1289.17 | SF | 0 | 0 | 0.055 | 70.9044 | 60 | 4254.261 | 4254.261
17 |  |  |  | Remove Top (2) Courses Of CMU Perimeter Block | 208.9563 | 0% | 208.9563 | SF | 0 | 0 | 0.12 | 25.0748 | 60 | 1504.4854 | 1504.4854
18 |  |  |  | Remove Top (1) Courses Of CMU Perimeter Block | 56.2063 | 0% | 56.2063 | SF | 0 | 0 | 0.12 | 6.7448 | 60 | 404.6854 | 404.6854
19 |  |  |  | Remove Exterior 2x Frame Wall | 1020.8 | 0% | 1020.8 | SF | 0 | 0 | 0.05 | 51.04 | 60 | 3062.4 | 3062.4
20 |  |  |  | Remove Underslab Plumbing & Dig To Expose Sanitary Lateral To Accommodate New Work | 19.72 | 0% | 19.72 | LF | 0 | 0 | 0.12 | 2.3664 | 60 | 141.984 | 141.984
21 |  |  |  | Remove Underslab Plumbing Piping | 32.05 | 0% | 32.05 | LF | 0 | 0 | 0.1 | 3.205 | 60 | 192.3 | 192.3
22 |  |  |  | Remove Slab | 16 | 0% | 16 | SF | 0 | 0 | 0.1 | 1.6 | 60 | 96 | 96
Sitework Demolition
23 |  |  |  | Remove Existing Concrete Sidewalk | 800 | 0% | 800 | SF | 0 | 0 | 0.05 | 40 | 60 | 2400 | 2400
|  |  | DIV-03 | CONCRETE | [8 empty] | 80 |  |  | 23783.4162
Thickened Slab
24 |  |  |  | 6" Concrete Thickened Slab Reinf. (467 SF) | 8.6444 | 10% | 9.5089 | CY | 240 | 2282.1333 | 4 | 38.0356 | 80 | 3042.8444 | 5324.9778
25 |  |  |  | 6x6- W2.0xW2.0 WWF. | 467 | 10% | 513.7 | SF | 0.59 | 303.083 | 0.004 | 2.0548 | 80 | 164.384 | 467.467
26 |  |  |  | #4x 12" L. Dowel @ 18" O.C. Doweled Into Mid-Depth Of Existing Slab W/ -Hilti Adhesive System | 72.812 | 10% | 80.0932 | LBs. | 0.92 | 73.6857 | 0.02 | 1.6019 | 80 | 128.1491 | 201.8349
Hand-Tooled Joint
27 |  |  |  | Sealant or Joint Fill | 162 | 10% | 178.2 | LF | 0.132 | 23.5224 | 0.1 | 17.82 | 80 | 1425.6 | 1449.1224
Thickened Edge
28 |  |  |  | Concrete Thickened Edge Reinf. | 7.2044 | 10% | 7.9248 | CY | 240 | 1901.9616 | 5 | 39.6242 | 80 | 3169.936 | 5071.8976
29 |  |  |  | #4@12" O.C. | 77.2054 | 10% | 84.926 | LBs. | 0.92 | 78.1319 | 0.02 | 1.6985 | 80 | 135.8816 | 214.0135
30 |  |  |  | 3#4 Conti. Bars | 154.6888 | 10% | 170.1576 | LBs. | 0.92 | 156.545 | 0.02 | 3.4032 | 80 | 272.2522 | 428.7972
New Slab
31 |  |  |  | 6" Concrete Slab Reinf. (834 SF) | 15.4454 | 10% | 16.9899 | CY | 240 | 4077.5778 | 3 | 50.9697 | 80 | 4077.5778 | 8155.1556
32 |  |  |  | 6x6- W2.0xW2.0 WWF. | 834 | 10% | 917.4 | SF | 0.59 | 541.266 | 0.004 | 3.6696 | 80 | 293.568 | 834.834
Expension Joint
33 |  |  |  | Expension Joint #4x9" L. Epoxy Bar @ 18" O.C. (Spacing Assumed) | 154.6053 | 10% | 170.0658 | LBs. | 1.2 | 204.0789 | 0.076 | 12.925 | 80 | 1034 | 1238.0789
Slab Repair At Utility Location
34 |  |  |  | 6" Concrete Slab Reinf. (12 SF) | 0.22222 | 10% | 0.24444 | CY | 240 | 58.6667 | 10 | 2.4444 | 80 | 195.5556 | 254.2222
35 |  |  |  | 6x6- W2.0xW2.0 WWF. | 12 | 10% | 13.2 | SF | 0.59 | 7.788 | 0.1 | 1.32 | 80 | 105.6 | 113.388
36 |  |  |  | #4x12" L. Epoxy Bars @ 12" O.C. | 10.688 | 10% | 11.7568 | LBs. | 0.92 | 10.8163 | 0.02 | 0.23514 | 80 | 18.8109 | 29.6271
|  |  | DIV-04 | UNIT MASONRY | [8 empty] | 76 |  |  | 11172.4307
Wall
37 |  |  |  | 6" CMU Wall Reinf. W/ | 50.183 | 10% | 55.2013 | SF | 7.65 | 422.2899 | 0.2 | 11.0403 | 76 | 839.0598 | 1261.3497
38 |  |  |  | #5 Dowel @ 16" O.C. | 109.2515 | 10% | 120.1767 | LBs. | 0.92 | 110.5625 | 0.02 | 2.4035 | 76 | 182.6685 | 293.231
CMU Wall
39 |  |  |  | 6" CMU Filled Solid & 1/2" Paring & Bituminous Damp Proofing | 174 | 10% | 191.4 | SF | 7.65 | 1464.21 | 0.2 | 38.28 | 76 | 2909.28 | 4373.49
40 |  |  |  | 8" CMU Filled Solid & 1/2" Paring & Bituminous Damp Proofing | 174 | 10% | 191.4 | SF | 12.2 | 2335.08 | 0.2 | 38.28 | 76 | 2909.28 | 5244.36
|  |  | DIV-06 | WOOD, PLASTICS & COMPOSITES | [8 empty] | 55 |  |  | 77559.2423
Post
41 |  |  |  | 5-1/4"x5-1/2" LAM Column @ 10' L. | 20 | 10% | 22 | EA | 224 | 4928 | 0.81 | 17.82 | 55 | 980.1 | 5908.1
42 |  |  |  | RPBZ Post Base Simpson Strong-Tie | 80 | 10% | 88 | EA | 8.98 | 790.24 | 0.12 | 10.56 | 55 | 580.8 | 1371.04
Headers/ Beams
43 |  |  |  | 2x6 Build Up Headers @ 8' L. | 7.7812 | 10% | 8.5594 | EA | 7.04 | 60.258 | 0.24 | 2.0543 | 55 | 112.9838 | 173.2418
44 |  |  |  | 2x10 Header @ 8' L. | 20.9175 | 10% | 23.0093 | EA | 11.84 | 272.4295 | 0.304 | 6.9948 | 55 | 384.7147 | 657.1442
45 |  |  |  | 5-1/4"x16" D. Glulam Beam @ 12' L. | 11.8133 | 10% | 12.9947 | EA | 276.96 | 3599.0029 | 2.4 | 31.1872 | 55 | 1715.296 | 5314.2989
46 |  |  |  | 1-3/4"x11-1/4" Header @ 8' L. | 3.6637 | 10% | 4.0301 | EA | 47.68 | 192.1564 | 0.64 | 2.5793 | 55 | 141.8604 | 334.0168
47 |  |  |  | 5-1/4"x14" D. Glulam Beam @ 10' L. | 2.906 | 10% | 3.1966 | EA | 379.9 | 1214.3883 | 2.2 | 7.0325 | 55 | 386.7886 | 1601.1769
Sill Plate
48 |  |  |  | 2x P.T. Sill Plate @ 16' L. | 16.1119 | 10% | 17.7231 | EA | 13.6 | 241.0337 | 0.416 | 7.3728 | 55 | 405.5037 | 646.5373
Roof Framing
49 |  |  |  | Wood Girder Truss | 639.48 | 10% | 703.428 | LF | 7.67 | 5395.2928 | 0.1 | 70.3428 | 55 | 3868.854 | 9264.1468
50 |  |  |  | Wood Roof Trusses @ 24" O.C. | 4435.33 | 10% | 4878.863 | SF | 3.785 | 18466.4965 | 0.045 | 219.5488 | 55 | 12075.1859 | 30541.6824
51 |  |  |  | 2x Overframing (Details Not Given) | 676.14 | 10% | 743.754 | SF | 4.33 | 3220.4548 | 0.05 | 37.1877 | 55 | 2045.3235 | 5265.7783
Fascia & Rack
52 |  |  |  | 8" Fascia @ 16' L. | 11.8931 | 10% | 13.0824 | EA | 27.04 | 353.7491 | 0.64 | 8.3728 | 55 | 460.5018 | 814.2509
53 |  |  |  | 8" Rake @ 16' L. | 5.8275 | 10% | 6.4103 | EA | 27.04 | 173.3332 | 0.64 | 4.1026 | 55 | 225.6408 | 398.974
Ceiling Framing
2x6 Ceiling Joist @ 24" O.C. (71 LF)
54 |  |  |  | 2x6 Ceiling Joist @ 8' | 10.5 | 10% | 11.55 | EA | 7.04 | 81.312 | 0.24 | 2.772 | 55 | 152.46 | 233.772
Cupola Framing
2x4 Attic Joist @ 16" O.C. (39 LF)
55 |  |  |  | 2x4 Attic Joist @ 8' L. | 6.5 | 10% | 7.15 | EA | 5.36 | 38.324 | 0.208 | 1.4872 | 55 | 81.796 | 120.12
2x6 Roof Joist @ 16" O.C. (64 LF)
56 |  |  |  | 2x6 Roof Joist @ 8' | 12 | 10% | 13.2 | EA | 7.04 | 92.928 | 0.24 | 3.168 | 55 | 174.24 | 267.168
Roof Beams
57 |  |  |  | 2x8 Ridge Beam @ 8' | 6.68 | 10% | 7.348 | EA | 11.2 | 82.2976 | 0.272 | 1.9987 | 55 | 109.9261 | 192.2237
58 |  |  |  | 2x8 Hip Beam @ 8' | 5.6025 | 10% | 6.1628 | EA | 11.2 | 69.0228 | 0.272 | 1.6763 | 55 | 92.1947 | 161.2175
Plywood
59 |  |  |  | (4'x8'x5/8") CDX Plywood Tongue & Groove Roof Sheathing (5524 SF) | 172.625 | 10% | 189.8875 | SHEETS | 33.98 | 6452.3772 | 0.45 | 85.4494 | 55 | 4699.7156 | 11152.0929
Trim
60 |  |  |  | Doors Trim | 621 | 10% | 683.1 | LF | 2.4 | 1639.44 | 0.04 | 27.324 | 55 | 1502.82 | 3142.26
|  |  | DIV-07 | THERMAL AND MOISTURE PROTECTION | [8 empty] | 70 |  |  | 172026.9517
Exterior Finish
61 |  |  |  | 2X8 mvp Western Red Cedar Log Siding | 2446.98 | 10% | 2691.678 | SF | 10.9545 | 29486.109 | 0.1 | 269.1678 | 70 | 18841.746 | 48327.855
62 |  |  |  | 3/8" x 4' X 6'-6" High Tuffak 15" Polycarbonate Clear UV Protected Panels | 104.4 | 10% | 114.84 | SF | 2.5 | 287.1 | 0.01 | 1.1484 | 70 | 80.388 | 367.488
63 |  |  |  | 1"x8" Western Red Cedar T&G Siding | 104.4 | 10% | 114.84 | SF | 5.3778 | 617.5913 | 0.06 | 6.8904 | 70 | 482.328 | 1099.9193
64 |  |  |  | Tyvek Building Wrap | 2655 | 10% | 2920.5 | SF | 0.107 | 312.4935 | 0.004 | 11.682 | 70 | 817.74 | 1130.2335
65 |  |  |  | 2X8 Western Red Ceder Corner Trim | 192.32 | 10% | 211.552 | LF | 4.6975 | 993.7655 | 0.042 | 8.8852 | 70 | 621.9629 | 1615.7284
66 |  |  |  | 4"W. X 1-1/2" Trim @ Jambs | 235.61 | 10% | 259.171 | LF | 6.635 | 1719.5996 | 0.048 | 12.4402 | 70 | 870.8146 | 2590.4141
67 |  |  |  | 6" W. x1-1/2" Trim @ Head | 86.34 | 10% | 94.974 | LF | 9.9525 | 945.2287 | 0.054 | 5.1286 | 70 | 359.0017 | 1304.2305
68 |  |  |  | 2x6 Wood Fascia - 0.64 Kynar coated Fascia W/ Drip Edge | 307.08 | 10% | 337.788 | LF | 9.95 | 3360.9906 | 0.03 | 10.1336 | 70 | 709.3548 | 4070.3454
69 |  |  |  | 12" Wood Fascia | 172.02 | 10% | 189.222 | LF | 13.2025 | 2498.2035 | 0.042 | 7.9473 | 70 | 556.3127 | 3054.5161
70 |  |  |  | Park SIGN - Install By Contractor & Provided By Owner | 8 | 0% | 8 | EA |  | 0 | 1.122 | 8.976 | 70 | 628.32 | 628.32
71 |  |  |  | .040 KYNAR Coated Aluminum Thru Flashing | 30.38 | 10% | 33.418 | LF | 23 | 768.614 | 0.12 | 4.0102 | 70 | 280.7112 | 1049.3252
72 |  |  |  | 3/4" Drip Edge | 30.38 | 10% | 33.418 | LF | 0.66 | 22.0559 | 0.026 | 0.86887 | 70 | 60.8208 | 82.8766
Roofing
73 |  |  |  | Dutch Seam Metal Roofing w/ Dutch Seam Clip | 4869.91 | 10% | 5356.901 | SF | 6.75 | 36159.0817 | 0.045 | 241.0605 | 70 | 16874.2382 | 53033.3199
74 |  |  |  | ATAS ATA GUARD Underlayment | 4869.91 | 10% | 5356.901 | SF | 0.45 | 2410.6055 | 0.004 | 21.4276 | 70 | 1499.9323 | 3910.5377
75 |  |  |  | .040 Kynar Coated Ribbed Aluminum Soffit | 743.98 | 10% | 818.378 | SF | 6.25 | 5114.8625 | 0.1 | 81.8378 | 70 | 5728.646 | 10843.5085
76 |  |  |  | .050 Kynar Coated Ribber Aluminum Soffit | 70.44 | 10% | 77.484 | SF | 7.25 | 561.759 | 0.1 | 7.7484 | 70 | 542.388 | 1104.147
77 |  |  |  | Snow Guards - ATAS AP400 | 128 | 0% | 128 | EA | 58.24 | 7454.72 | 0.8 | 102.4 | 70 | 7168 | 14622.72
Trims & Flashings
78 |  |  |  | Aluminum Counter Flashing | 95.17 | 10% | 104.687 | LF | 1.88 | 196.8116 | 0.026 | 2.7219 | 70 | 190.5303 | 387.3419
79 |  |  |  | 0.50 Kynar Coated Aluminum Counterflashing | 95.17 | 10% | 104.687 | LF | 2 | 209.374 | 0.026 | 2.7219 | 70 | 190.5303 | 399.9043
80 |  |  |  | ATAS Sidewall Trim | 95.17 | 10% | 104.687 | LF | 4.2492 | 444.8325 | 0.04 | 4.1875 | 70 | 293.1236 | 737.9561
81 |  |  |  | Atas z-Closure | 95.17 | 10% | 104.687 | LF | 4.5 | 471.0915 | 0.04 | 4.1875 | 70 | 293.1236 | 764.2151
82 |  |  |  | Single Piece Peal And Stick Flashing | 95.17 | 10% | 104.687 | LF | 7.36 | 770.4963 | 0.06 | 6.2812 | 70 | 439.6854 | 1210.1817
83 |  |  |  | ICE & Water Shield 10" Horiz. / 12" Vertical | 95.17 | 10% | 104.687 | SF | 0.99 | 103.6401 | 0.008 | 0.8375 | 70 | 58.6247 | 162.2649
84 |  |  |  | Drip Edge | 400 | 10% | 440 | LF | 1.88 | 827.2 | 0.026 | 11.44 | 70 | 800.8 | 1628
85 |  |  |  | Conceal J-Trim | 116.73 | 10% | 128.403 | LF | 2.1575 | 277.0295 | 0.04 | 5.1361 | 70 | 359.5284 | 636.5579
86 |  |  |  | Eave Trim | 400 | 10% | 440 | LF | 2.498 | 1099.12 | 0.044 | 19.36 | 70 | 1355.2 | 2454.32
87 |  |  |  | 1-1/2" West. Red Cedar Trim Board | 180 | 10% | 198 | LF | 2.1633 | 428.34 | 0.042 | 8.316 | 70 | 582.12 | 1010.46
88 |  |  |  | Metal Roofing Edge Trim | 64.13 | 10% | 70.543 | LF | 2.15 | 151.6675 | 0.026 | 1.8341 | 70 | 128.3883 | 280.0557
89 |  |  |  | Kynar Coated J-Trim | 347 | 10% | 381.7 | LF | 2.2858 | 872.5026 | 0.026 | 9.9242 | 70 | 694.694 | 1567.1966
90 |  |  |  | .050 Kynar Coated Fascia | 283.42 | 10% | 311.762 | LF | 6.75 | 2104.3935 | 0.044 | 13.7175 | 70 | 960.227 | 3064.6205
91 |  |  |  | 2X Frieze Nailer | 283.42 | 10% | 311.762 | LF | 0.67 | 208.8805 | 0.026 | 8.1058 | 70 | 567.4068 | 776.2874
92 |  |  |  | 2X Soffit Nailer | 283.42 | 10% | 311.762 | LF | 0.67 | 208.8805 | 0.026 | 8.1058 | 70 | 567.4068 | 776.2874
93 |  |  |  | 2x10 Frieze Board Painted | 283.42 | 10% | 311.762 | LF | 1.292 | 402.7965 | 0.038 | 11.847 | 70 | 829.2869 | 1232.0834
94 |  |  |  | Vented Ridge Cap | 139.94 | 10% | 153.934 | LF | 2.82 | 434.0939 | 0.04 | 6.1574 | 70 | 431.0152 | 865.1091
95 |  |  |  | Vented Z Closure Trim | 139.94 | 10% | 153.934 | LF | 0.65 | 100.0571 | 0.022 | 3.3865 | 70 | 237.0584 | 337.1155
96 |  |  |  | MDA800- Valley Pan | 162.61 | 10% | 178.871 | LF | 9.9992 | 1788.5609 | 0.052 | 9.3013 | 70 | 651.0904 | 2439.6514
97 |  |  |  | Joggle Cleat | 162.61 | 10% | 178.871 | LF | 1.3325 | 238.3456 | 0.025 | 4.4718 | 70 | 313.0243 | 551.3699
98 |  |  |  | Aluminum Gutter - Assumed If Required | 190.53 | 10% | 209.583 | LF | 2.52 | 528.1492 | 0.065 | 13.6229 | 70 | 953.6027 | 1481.7518
99 |  |  |  | Downspouts - Assumed If Required | 64 | 10% | 70.4 | LF | 2.24 | 157.696 | 0.055 | 3.872 | 70 | 271.04 | 428.736
|  |  | DIV-08 | OPENINGS | [8 empty] | 58 |  |  | 52347.0407
Attic Access - MFR: Fakro/ Model Lst
100 |  |  |  | (30"x36" Bilco S-50TB Attic Access Ladder | 1 | 0% | 1 | EA | 2279.7 | 2279.7 | 4.5 | 4.5 | 58 | 261 | 2540.7
Doors
101 |  |  |  | (4'-0"X7'-0") Single Leaf FRP Door W/ Aluminum Frame | 3 | 0% | 3 | EA | 1417.36 | 4252.08 | 5.936 | 17.808 | 58 | 1032.864 | 5284.944
102 |  |  |  | (3'-0"x7'-0") Single Leaf FRP Door W/ Aluminum Frame | 11 | 0% | 11 | EA | 1063.02 | 11693.22 | 4.452 | 48.972 | 58 | 2840.376 | 14533.596
103 |  |  |  | (2'-8"x7'-0") Single Leaf FRP Door W/ Aluminum Frame | 1 | 0% | 1 | EA | 942.5444 | 942.5444 | 3.9474 | 3.9474 | 58 | 228.9515 | 1171.4959
104 |  |  |  | (10'-0"x4'-2") Insul. Hollow Metal Roll Up Door W/ Steel Frame | 2 | 0% | 2 | EA | 2293.5 | 4587 | 5.2125 | 10.425 | 58 | 604.65 | 5191.65
105 |  |  |  | (8'-0"x4'-2") Insul. Hollow Metal Roll Up Door W/ Steel Frame | 1 | 0% | 1 | EA | 1834.8 | 1834.8 | 4.17 | 4.17 | 58 | 241.86 | 2076.66
Hardware Set
106 |  |  |  | Hardware set 1 - Cont. hinge (1 EA) - Classroom Lock (1 EA) - Fsic Core (1 EA) - Surface Closer (1 EA) - Wall Stop/holder (1 EA) - Weather Stripping (1 Set) - Treshold (1 EA) | 2 | 0% | 2 | EA | 633.1 | 1266.2 | 1.2331 | 2.4662 | 58 | 143.0396 | 1409.2396
107 |  |  |  | Hardware Set 2 - Cont. hinge (1 EA) - Storeroom Lock (1 EA) - Fsic Core (1 EA) - Wall Stop (1 EA) - Seals (1 Set) | 3 | 0% | 3 | EA | 262.1 | 786.3 | 0.8621 | 2.5863 | 58 | 150.0054 | 936.3054
108 |  |  |  | Hardware Set 3 - Cont. hinge (1 EA) - Storeroom Lock (1 EA) - Fsic Core (1 EA) - OH Stop (1 EA) - Seals (1 Set) | 1 | 0% | 1 | EA | 305.39 | 305.39 | 0.90539 | 0.90539 | 58 | 52.5126 | 357.9026
109 |  |  |  | Hardware Set 4 - Cont. hinge (1 EA) - Corridor Lock W/ Outside Indicator w/ Indicator (1 EA) - Surface Closer (1 EA) - Wall Stop (1 EA) - Weather Stripping (1 Set) - Threshold (1 EA) | 3 | 0% | 3 | EA | 1093.1 | 3279.3 | 1.6931 | 5.0793 | 58 | 294.5994 | 3573.8994
110 |  |  |  | Hardware Set 5 - Cont. hinge (1 EA) - Entrance Lock (1 EA) - Surface Closer (1 EA) - Wall Stop (1 EA) - Fsci Core (1 EA) - Weather Stripping (1 Set) - Threshold (1 EA) | 3 | 0% | 3 | EA | 567.6 | 1702.8 | 1.1676 | 3.5028 | 58 | 203.1624 | 1905.9624
111 |  |  |  | Hardware Set 6 - Cont. hinge (1 EA) - Privacy Lock W/ Outside Indicator (1 EA) - Wall Stop (1 EA) - Seals (1 Set) | 1 | 0% | 1 | EA | 383.6 | 383.6 | 0.9836 | 0.9836 | 58 | 57.0488 | 440.6488
112 |  |  |  | Hardware set 7 - Cont. hinge (1 EA) - Storeroom Lock (1 EA) - Fsic Core (1 EA) - Surface Closer (1 EA) - Wall Stop/holder (1 EA) - Weather Stripping (1 Set) - Treshold (1 EA) | 1 | 0% | 1 | EA | 567.6 | 567.6 | 1.1676 | 1.1676 | 58 | 67.7208 | 635.3208
113 |  |  |  | Hardware Set 8 - Cont. hinge (1 EA) - Storeroom Lock (1 EA) - Fsic Core (1 EA) - Surface Closer - Seals (1 Set) | 1 | 0% | 1 | EA | 522.6 | 522.6 | 1.1226 | 1.1226 | 58 | 65.1108 | 587.7108
Windows
114 |  |  |  | A1: (3'-7"x4'-4") 1" Insul. & Temp. Glazing Window W/ Frame | 4 | 0% | 4 | EA | 1143.8994 | 4575.5976 | 5.4103 | 21.6413 | 58 | 1255.1977 | 5830.7953
115 |  |  |  | A2: (3'-7"x4'-4") 1" Insul. & Temp. Glazing Window W/ Frame | 2 | 0% | 2 | EA | 1143.8994 | 2287.7988 | 5.4103 | 10.8207 | 58 | 627.5989 | 2915.3977
116 |  |  |  | B: (2'-5"x2'-5") Fixed 1" Insul. & Temp. Glazing W/ 1" Wide Internal Mounting W/ Frame - Color Match To Frame | 4 | 0% | 4 | EA | 436.9626 | 1747.8504 | 2.0667 | 8.2669 | 58 | 479.4779 | 2227.3283
117 |  |  |  | (2'-5"x2'-5") 1" Louver W/ Bird Screen W/ Frame | 4 | 0% | 4 | EA | 147.6225 | 590.49 | 0.59049 | 2.362 | 58 | 136.9937 | 727.4837
|  |  | DIV-09 | FINISHES | [8 empty] | 60 |  |  | 171649.6171
Walls
2X6 Exterior Wall
118 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10' H | 196.4211 | 10% | 216.0632 | EA | 8.8 | 1901.3558 | 0.25 | 54.0158 | 60 | 3240.9474 | 5142.3032
119 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 16.2444 | 10% | 17.8688 | EA | 17.44 | 0 | 0.4 | 7.1475 | 60 | 428.8515 | 428.8515
120 |  |  |  | 2x6 Wood Top Plates @ 16' L | 32.4888 | 10% | 35.7376 | EA | 14.08 | 503.1858 | 0.4 | 14.2951 | 60 | 857.703 | 1360.8888
121 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 64.9775 | 10% | 71.4753 | SHEETS | 19.2 | 1372.3248 | 0.66667 | 47.6502 | 60 | 2859.01 | 4231.3348
122 |  |  |  | (4'x10'x5/8") CDX Plywood Share Wall Sheathing | 64.9775 | 10% | 71.4753 | SHEETS | 53.96 | 3856.8045 | 0.66667 | 47.6502 | 60 | 2859.01 | 6715.8145
123 |  |  |  | 4" Th. Closed Cell Spray Foam Insulation | 645 | 10% | 709.5 | SF | 5.8 | 4115.1 | 0.013333 | 9.46 | 60 | 567.6 | 4682.7
124 |  |  |  | Acoustical Sealant | 519.82 | 10% | 571.802 | LF | 0.132 | 75.4779 | 0.013333 | 7.624 | 60 | 457.4416 | 532.9195
Wall Type A1 As:
125 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 31.2105 | 10% | 34.3316 | EA | 10.56 | 362.5415 | 0.3 | 10.2995 | 60 | 617.9684 | 980.5099
126 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 2.5112 | 10% | 2.7624 | EA | 17.44 | 0 | 0.4 | 1.105 | 60 | 66.297 | 66.297
127 |  |  |  | 2x6 Wood Top Plates @ 16' L | 5.0225 | 10% | 5.5248 | EA | 14.08 | 77.7885 | 0.4 | 2.2099 | 60 | 132.594 | 210.3825
128 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 10.3765 | 10% | 11.4141 | SHEETS | 19.2 | 219.1514 | 0.66667 | 7.6094 | 60 | 456.5653 | 675.7167
129 |  |  |  | (4'x10'x7/16") Plywood Sheathing | 10.3765 | 10% | 11.4141 | SHEETS | 19.608 | 223.8083 | 0.66667 | 7.6094 | 60 | 456.5653 | 680.3737
130 |  |  |  | OMIT Insulation | 415.0594 | 10% | 456.5653 | SF | 0.78 | 356.121 | 0.0083333 | 3.8047 | 60 | 228.2827 | 584.4036
131 |  |  |  | Acoustical Sealant | 80.36 | 10% | 88.396 | LF | 0.132 | 11.6683 | 0.013333 | 1.1786 | 60 | 70.7168 | 82.3851
Wall Type A2 As:
132 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 9 | 10% | 9.9 | EA | 10.56 | 104.544 | 0.3 | 2.97 | 60 | 178.2 | 282.744
133 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 0.665 | 10% | 0.7315 | EA | 17.44 | 0 | 0.4 | 0.2926 | 60 | 17.556 | 17.556
134 |  |  |  | 2x6 Wood Top Plates @ 16' L | 1.33 | 10% | 1.463 | EA | 14.08 | 20.599 | 0.4 | 0.5852 | 60 | 35.112 | 55.711
135 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 2.7478 | 10% | 3.0226 | SHEETS | 19.2 | 58.0331 | 0.66667 | 2.015 | 60 | 120.9023 | 178.9354
136 |  |  |  | (4'x10'x7/16") Plywood Sheathing | 2.7478 | 10% | 3.0226 | SHEETS | 19.608 | 59.2663 | 0.66667 | 2.015 | 60 | 120.9023 | 180.1686
137 |  |  |  | OMIT Insulation | 109.9112 | 10% | 120.9023 | SF | 0.78 | 94.3038 | 0.0083333 | 1.0075 | 60 | 60.4512 | 154.755
138 |  |  |  | Acoustical Sealant | 21.28 | 10% | 23.408 | LF | 0.132 | 3.0899 | 0.013333 | 0.31211 | 60 | 18.7264 | 21.8163
Wall Type A3 As:
139 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 19.188 | 10% | 21.1068 | EA | 10.56 | 222.8875 | 0.3 | 6.332 | 60 | 379.9218 | 602.8093
140 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 1.5119 | 10% | 1.6631 | EA | 17.44 | 0 | 0.4 | 0.66523 | 60 | 39.9135 | 39.9135
141 |  |  |  | 2x6 Wood Top Plates @ 16' L | 3.0238 | 10% | 3.3261 | EA | 14.08 | 46.8318 | 0.4 | 1.3305 | 60 | 79.827 | 126.6588
142 |  |  |  | (4'x10'x7/16") Plywood Sheathing | 6.2471 | 10% | 6.8718 | SHEETS | 19.608 | 134.7417 | 0.66667 | 4.5812 | 60 | 274.871 | 409.6127
143 |  |  |  | OMIT Insulation | 249.8827 | 10% | 274.871 | SF | 0.78 | 214.3994 | 0.0083333 | 2.2906 | 60 | 137.4355 | 351.8348
144 |  |  |  | Acoustical Sealant | 48.38 | 10% | 53.218 | LF | 0.132 | 7.0248 | 0.013333 | 0.70957 | 60 | 42.5744 | 49.5992
Wall Type B As:
145 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 75.9925 | 10% | 83.5917 | EA | 10.56 | 882.7287 | 0.3 | 25.0775 | 60 | 1504.6511 | 2387.3798
146 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 6.2337 | 10% | 6.8571 | EA | 17.44 | 0 | 0.4 | 2.7429 | 60 | 164.571 | 164.571
147 |  |  |  | 2x6 Wood Top Plates @ 16' L | 12.4675 | 10% | 13.7142 | EA | 14.08 | 193.0966 | 0.4 | 5.4857 | 60 | 329.142 | 522.2386
148 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 51.5157 | 10% | 56.6673 | SHEETS | 19.2 | 1088.0118 | 0.66667 | 37.7782 | 60 | 2266.6912 | 3354.703
149 |  |  |  | Acoustical Sealant | 398.96 | 10% | 438.856 | LF | 0.132 | 57.929 | 0.013333 | 5.8514 | 60 | 351.0848 | 409.0138
Wall Type B1 As:
150 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 95.7368 | 10% | 105.3105 | EA | 10.56 | 1112.0792 | 0.3 | 31.5932 | 60 | 1895.5895 | 3007.6686
151 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 7.875 | 10% | 8.6625 | EA | 17.44 | 0 | 0.4 | 3.465 | 60 | 207.9 | 207.9
152 |  |  |  | 2x6 Wood Top Plates @ 16' L | 15.75 | 10% | 17.325 | EA | 14.08 | 243.936 | 0.4 | 6.93 | 60 | 415.8 | 659.736
153 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 32.5395 | 10% | 35.7934 | SHEETS | 19.2 | 687.2342 | 0.66667 | 23.8623 | 60 | 1431.738 | 2118.9722
154 |  |  |  | Acoustical Sealant | 252 | 10% | 277.2 | LF | 0.132 | 36.5904 | 0.013333 | 3.696 | 60 | 221.76 | 258.3504
Wall Type C As:
155 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 29.4586 | 10% | 32.4045 | EA | 10.56 | 342.1916 | 0.3 | 9.7214 | 60 | 583.2812 | 925.4728
156 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 2.3656 | 10% | 2.6022 | EA | 17.44 | 0 | 0.4 | 1.0409 | 60 | 62.4525 | 62.4525
157 |  |  |  | 2x6 Wood Top Plates @ 16' L | 4.7313 | 10% | 5.2044 | EA | 14.08 | 73.2776 | 0.4 | 2.0818 | 60 | 124.905 | 198.1826
158 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 19.5495 | 10% | 21.5045 | SHEETS | 19.2 | 412.886 | 0.66667 | 14.3363 | 60 | 860.1791 | 1273.0651
159 |  |  |  | 6" R-21 Kraft Faced Insulation | 390.9905 | 10% | 430.0896 | SF | 1.0451 | 449.5003 | 0.013333 | 5.7345 | 60 | 344.0716 | 793.572
160 |  |  |  | Acoustical Sealant | 151.4 | 10% | 166.54 | LF | 0.132 | 21.9833 | 0.013333 | 2.2205 | 60 | 133.232 | 155.2153
Wall Type C1 As:
161 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 11.2932 | 10% | 12.4226 | EA | 10.56 | 131.1822 | 0.3 | 3.7268 | 60 | 223.606 | 354.7882
162 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 0.85562 | 10% | 0.94119 | EA | 17.44 | 0 | 0.4 | 0.37648 | 60 | 22.5885 | 22.5885
163 |  |  |  | 2x6 Wood Top Plates @ 16' L | 1.7112 | 10% | 1.8824 | EA | 14.08 | 26.5038 | 0.4 | 0.75295 | 60 | 45.177 | 71.6808
164 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 3.5354 | 10% | 3.889 | SHEETS | 19.2 | 74.6685 | 0.66667 | 2.5927 | 60 | 155.5595 | 230.228
165 |  |  |  | (4'x10'x5/8") B/C plywood Sheathing | 3.5354 | 10% | 3.889 | SHEETS | 53.96 | 209.8497 | 0.66667 | 2.5927 | 60 | 155.5595 | 365.4092
166 |  |  |  | 6" R-21 Kraft Faced Insulation | 141.4177 | 10% | 155.5595 | SF | 1.0451 | 162.5802 | 0.013333 | 2.0741 | 60 | 124.4476 | 287.0277
167 |  |  |  | Acoustical Sealant | 27.38 | 10% | 30.118 | LF | 0.132 | 3.9756 | 0.013333 | 0.40157 | 60 | 24.0944 | 28.07
Wall Type D As:
168 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 31.203 | 10% | 34.3233 | EA | 10.56 | 362.4541 | 0.3 | 10.297 | 60 | 617.8195 | 980.2737
169 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 2.5106 | 10% | 2.7617 | EA | 17.44 | 0 | 0.4 | 1.1047 | 60 | 66.2805 | 66.2805
170 |  |  |  | 2x6 Wood Top Plates @ 16' L | 5.0213 | 10% | 5.5234 | EA | 14.08 | 77.7691 | 0.4 | 2.2094 | 60 | 132.561 | 210.3301
171 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 20.7478 | 10% | 22.8226 | SHEETS | 19.2 | 438.1936 | 0.66667 | 15.2151 | 60 | 912.9034 | 1351.0971
172 |  |  |  | 6" R-21 Kraft Faced Insulation | 414.9561 | 10% | 456.4517 | SF | 1.0451 | 477.0522 | 0.013333 | 6.086 | 60 | 365.1614 | 842.2136
173 |  |  |  | Acoustical Sealant | 160.68 | 10% | 176.748 | LF | 0.132 | 23.3307 | 0.013333 | 2.3566 | 60 | 141.3984 | 164.7291
Wall Type E As:
174 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 14.5338 | 10% | 15.9872 | EA | 10.56 | 168.825 | 0.3 | 4.7962 | 60 | 287.7699 | 456.5949
175 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 1.125 | 10% | 1.2375 | EA | 17.44 | 0 | 0.4 | 0.495 | 60 | 29.7 | 29.7
176 |  |  |  | 2x6 Wood Top Plates @ 16' L | 2.25 | 10% | 2.475 | EA | 14.08 | 34.848 | 0.4 | 0.99 | 60 | 59.4 | 94.248
177 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 4.6485 | 10% | 5.1134 | SHEETS | 19.2 | 98.1763 | 0.66667 | 3.4089 | 60 | 204.534 | 302.7103
178 |  |  |  | (4'x10'x5/8") B/C plywood Sheathing | 4.6485 | 10% | 5.1134 | SHEETS | 53.96 | 275.9164 | 0.66667 | 3.4089 | 60 | 204.534 | 480.4504
179 |  |  |  | 6" R-21 Kraft Faced Insulation | 185.94 | 10% | 204.534 | SF | 1.0451 | 213.765 | 0.013333 | 2.7271 | 60 | 163.6272 | 377.3922
180 |  |  |  | Acoustical Sealant | 72 | 10% | 79.2 | LF | 0.132 | 10.4544 | 0.013333 | 1.056 | 60 | 63.36 | 73.8144
Wall Type E1 As:
181 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 15.2256 | 10% | 16.7481 | EA | 10.56 | 176.8602 | 0.3 | 5.0244 | 60 | 301.4662 | 478.3263
182 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 1.1825 | 10% | 1.3008 | EA | 17.44 | 0 | 0.4 | 0.5203 | 60 | 31.218 | 31.218
183 |  |  |  | 2x6 Wood Top Plates @ 16' L | 2.365 | 10% | 2.6015 | EA | 14.08 | 36.6291 | 0.4 | 1.0406 | 60 | 62.436 | 99.0651
184 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 9.7722 | 10% | 10.7494 | SHEETS | 19.2 | 206.3884 | 0.66667 | 7.1663 | 60 | 429.9759 | 636.3644
185 |  |  |  | Acoustical Sealant | 75.68 | 10% | 83.248 | LF | 0.132 | 10.9887 | 0.013333 | 1.11 | 60 | 66.5984 | 77.5871
Wall Type E2 As:
186 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 10'-6" H | 5.5338 | 10% | 6.0872 | EA | 10.56 | 64.281 | 0.3 | 1.8262 | 60 | 109.5699 | 173.8509
187 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 0.37688 | 10% | 0.41456 | EA | 17.44 | 0 | 0.4 | 0.16583 | 60 | 9.9495 | 9.9495
188 |  |  |  | 2x6 Wood Top Plates @ 16' L | 0.75375 | 10% | 0.82913 | EA | 14.08 | 11.6741 | 0.4 | 0.33165 | 60 | 19.899 | 31.5731
189 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 3.1145 | 10% | 3.4259 | SHEETS | 19.2 | 65.7781 | 0.66667 | 2.284 | 60 | 137.0378 | 202.8159
190 |  |  |  | Acoustical Sealant | 24.12 | 10% | 26.532 | LF | 0.132 | 3.5022 | 0.013333 | 0.35376 | 60 | 21.2256 | 24.7278
2X6 Exterior Capula Wall
191 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 8' H | 33 | 10% | 36.3 | EA | 7.04 | 255.552 | 0.2 | 7.26 | 60 | 435.6 | 691.152
192 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 5.4406 | 10% | 5.9847 | EA | 17.44 | 0 | 0.4 | 2.3939 | 60 | 143.6325 | 143.6325
193 |  |  |  | 2x6 Wood Top Plates @ 16' L | 10.8812 | 10% | 11.9694 | EA | 14.08 | 168.5288 | 0.4 | 4.7878 | 60 | 287.265 | 455.7938
194 |  |  |  | (4'x8'x5/8") VHI Gypsum Board Panel | 10.8812 | 10% | 11.9694 | SHEETS | 15.36 | 183.8496 | 0.53333 | 6.3837 | 60 | 383.02 | 566.8696
195 |  |  |  | (4'x8'x5/8") CDX Plywood Share Wall Sheathing | 10.8812 | 10% | 11.9694 | SHEETS | 33.46 | 400.4953 | 0.53333 | 6.3837 | 60 | 383.02 | 783.5153
196 |  |  |  | Acoustical Sealant | 174.1 | 10% | 191.51 | LF | 0.132 | 25.2793 | 0.013333 | 2.5535 | 60 | 153.208 | 178.4873
2x6 Interior Cupola Wall
197 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 8' H | 5 | 10% | 5.5 | EA | 7.04 | 38.72 | 0.2 | 1.1 | 60 | 66 | 104.72
198 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 0.76438 | 10% | 0.84081 | EA | 17.44 | 0 | 0.4 | 0.33633 | 60 | 20.1795 | 20.1795
199 |  |  |  | 2x6 Wood Top Plates @ 16' L | 1.5288 | 10% | 1.6816 | EA | 14.08 | 23.6773 | 0.4 | 0.67265 | 60 | 40.359 | 64.0363
200 |  |  |  | (4'x8'x5/8") VHI Gypsum Board Panel | 3.0575 | 10% | 3.3633 | SHEETS | 15.36 | 51.6595 | 0.53333 | 1.7937 | 60 | 107.624 | 159.2835
201 |  |  |  | Acoustical Sealant | 48.92 | 10% | 53.812 | LF | 0.132 | 7.1032 | 0.013333 | 0.71749 | 60 | 43.0496 | 50.1528
Gable Accent Wall
202 |  |  |  | (4'X8'X5/8" ) Zip Sheathing | 9.0183 | 10% | 9.9201 | SHEETS | 42.77 | 424.2831 | 0.53333 | 5.2907 | 60 | 317.4435 | 741.7266
2x6 Exterior Gable End Wall
203 |  |  |  | 2X6 Wood Studs @ 16" O.C. @ 8' H | 42 | 10% | 46.2 | EA | 7.04 | 325.248 | 0.2 | 9.24 | 60 | 554.4 | 879.648
204 |  |  |  | 2X6 P.T. Bottom Plate @ 16' L | 5.0956 | 10% | 5.6052 | EA | 17.44 | 0 | 0.4 | 2.2421 | 60 | 134.5245 | 134.5245
205 |  |  |  | 2x6 Wood Top Plates @ 16' L | 10.1913 | 10% | 11.2104 | EA | 14.08 | 157.8421 | 0.4 | 4.4842 | 60 | 269.049 | 426.8911
206 |  |  |  | (4'x8'x5/8") VHI Gypsum Board Panel | 14.013 | 10% | 15.4143 | SHEETS | 15.36 | 236.7631 | 0.53333 | 8.2209 | 60 | 493.2565 | 730.0196
207 |  |  |  | (4'x8'x5/8") CDX Plywood Share Wall Sheathing | 14.013 | 10% | 15.4143 | SHEETS | 33.46 | 515.7613 | 0.53333 | 8.2209 | 60 | 493.2565 | 1009.0178
208 |  |  |  | Acoustical Sealant | 163.06 | 10% | 179.366 | LF | 0.132 | 23.6763 | 0.013333 | 2.3915 | 60 | 143.4928 | 167.1691
1A/A-110 @ Column
209 |  |  |  | 2x6 Wood Studs @ 10'-6" H | 4 | 10% | 4.4 | EA | 10.56 | 46.464 | 0.3 | 1.32 | 60 | 79.2 | 125.664
210 |  |  |  | 2X6 Top & Bottom Plates @ 16' L | 1.6931 | 10% | 1.8624 | EA | 14.08 | 26.2231 | 0.4 | 0.74498 | 60 | 44.6985 | 70.9216
211 |  |  |  | (4'x10'x5/8") VHI Gypsum Board Panel | 2.2575 | 10% | 2.4832 | SHEETS | 19.2 | 47.6784 | 0.66667 | 1.6555 | 60 | 99.33 | 147.0084
Tapping & Mudding
212 |  |  |  | Tapping | 6554 | 10% | 7209.4 | LF | 0.1 | 720.94 | 0.01 | 72.094 | 60 | 4325.64 | 5046.58
213 |  |  |  | Mudding | 745 | 10% | 819.5 | LBS | 0.11 | 90.145 | 0.1 | 81.95 | 60 | 4917 | 5007.145
214 |  |  |  | Screws | 14056 | 10% | 15461.6 | EA | 0.03 | 463.848 | 0.003 | 46.3848 | 60 | 2783.088 | 3246.936
Ceiling Insulation
215 |  |  |  | 5-1/2" Thick Closed -Cell Spray Foam Insulation | 928.14 | 10% | 1020.954 | SF | 4.54 | 4635.1312 | 0.02 | 20.4191 | 60 | 1225.1448 | 5860.276
Flooring
216 |  |  |  | Epoxy Paint | 3329.41 | 10% | 3662.351 | SF | 0.65 | 2380.5282 | 0.02 | 73.247 | 60 | 4394.8212 | 6775.3494
Wall Base
217 |  |  |  | 1" Concave Radius Cove Base w/ Epoxy Finish | 1041.27 | 10% | 1145.397 | LF | 4.0104 | 4593.5192 | 0.025 | 28.6349 | 60 | 1718.0955 | 6311.6147
Trim paint
218 |  |  |  | Doors Trim paint | 621 | 10% | 683.1 | LF | 0.8 | 546.48 | 0.018 | 12.2958 | 60 | 737.748 | 1284.228
Ceiling
219 |  |  |  | (4'x8'x1/2") Gypsum Board Ceiling (3306 SF) | 103 | 10% | 113.3 | SHEETS | 31.36 | 3553.088 | 0.64 | 72.512 | 60 | 4350.72 | 7903.808
220 |  |  |  | (4'x8'x5/8") Gypsum Board Ceiling @ Cupola (82 SF) | 3 | 10% | 3.3 | SHEETS | 39.36 | 129.888 | 0.64 | 2.112 | 60 | 126.72 | 256.608
Soffit Framing
1/A-111 Soffit
221 |  |  |  | 2x2 Furring Studs @ 16" O.C. @ 8'-0" L | 5.33 | 10% | 5.863 | EA | 2.88 | 16.8854 | 0.176 | 1.0319 | 60 | 61.9133 | 78.7987
222 |  |  |  | 2X2 Top & Bottom Plates @ 16' L | 8.6775 | 10% | 9.5453 | EA | 5.76 | 54.9806 | 0.352 | 3.3599 | 60 | 201.5957 | 256.5763
223 |  |  |  | (4'x8'x1/2") VHI Gypsum Board Panel (54 SF) | 1.6777 | 10% | 1.8454 | SHEETS | 12.16 | 22.4402 | 0.64 | 1.1811 | 60 | 70.8639 | 93.3042
3/A-111 Soffit
224 |  |  |  | 2-1/2" 20 Ga Metal Framing @ 24" O.C. @ 8'-0" H | 102 | 10% | 112.2 | EA | 4.72 | 529.584 | 0.272 | 30.5184 | 60 | 1831.104 | 2360.688
225 |  |  |  | 2-1/2" Top & Bottom Tracks @ 16' L | 14.9738 | 10% | 16.4711 | EA | 9.44 | 155.4874 | 0.544 | 8.9603 | 60 | 537.6175 | 693.1049
226 |  |  |  | (4'x8'x1/2") VHI Gypsum Board Panel (180 SF) | 5.6152 | 10% | 6.1767 | SHEETS | 12.16 | 75.1083 | 0.64 | 3.9531 | 60 | 237.1842 | 312.2925
Interior Window Sill
227 |  |  |  | Corien Sill W/ 1/4" Bull Nose | 28.27 | 10% | 31.097 | LF | 13.3 | 413.5901 | 0.13 | 4.0426 | 60 | 242.5566 | 656.1467
Backsplash Tile
228 |  |  |  | 1'-6" h Back Splash Tile | 19.45 | 10% | 21.395 | SF | 17.5 | 374.4125 | 0.215 | 4.5999 | 60 | 275.9955 | 650.408
Fiber Reinforcement Panel
229 |  |  |  | FRP: Fiber Reinforcement Panel | 8465 | 10% | 9311.5 | SF | 2.65 | 24675.475 | 0.03 | 279.345 | 60 | 16760.7 | 41436.175
Wall Paint
230 |  |  |  | Wall Paint | 1949 | 10% | 2143.9 | SF | 0.65 | 1393.535 | 0.02 | 42.878 | 60 | 2572.68 | 3966.215
Exposed Plywood
231 |  |  |  | (4'x10'x5/8") B/C plywood Exposed | 617 | 10% | 678.7 | SF | 1.6875 | 1145.3063 | 0.022 | 14.9314 | 60 | 895.884 | 2041.1903
Ceiling Paint
232 |  |  |  | Gypsum Board Ceiling Paint | 3621 | 10% | 3983.1 | SF | 0.65 | 2589.015 | 0.025 | 99.5775 | 60 | 5974.65 | 8563.665
Doors Paint
233 |  |  |  | (10'-0"x4'-2") Insul. Hollow Metal Roll Up Door W/ Steel Frame | 2 | 0% | 2 | EA | 2293.5 | 4587 | 5.2125 | 10.425 | 60 | 625.5 | 5212.5
234 |  |  |  | (8'-0"x4'-2") Insul. Hollow Metal Roll Up Door W/ Steel Frame | 1 | 0% | 1 | EA | 1834.8 | 1834.8 | 4.17 | 4.17 | 60 | 250.2 | 2085
|  |  | DIV-10 | SPECIALTIES | [8 empty] | 70 |  |  | 74160.43
Ladder
235 |  |  |  | O'KEEF'S Supported Wall Braced Ladder W/ Bilco Ladder-up LU-1 | 1 | 0% | 1 | EA | 1241 | 1241 | 3.43 | 3.43 | 70 | 240.1 | 1481.1
Bath Partition Stall
236 |  |  |  | Bath Partition Stall W/ Door | 1132 | 10% | 1245.2 | SF | 21.2 | 26398.24 | 0.15 | 186.78 | 70 | 13074.6 | 39472.84
237 |  |  |  | Panelster Urinal Privacy Screen W/ Continuous Wall Brackets & Integral / Homogeneous Panel Floor Support | 81 | 10% | 89.1 | SF | 16 | 1425.6 | 0.2 | 17.82 | 70 | 1247.4 | 2673
238 |  |  |  | F-1: Fire Extinguisher | 4 | 0% | 4 | EA | 112.6 | 450.4 | 1.2 | 4.8 | 70 | 336 | 786.4
Accessories
239 |  |  |  | CCS: Child Changing Station - Model No.: KB208-01 Gray (Koala KARE OVAL MTD. GRAY) | 6 | 0% | 6 | EA | 292.85 | 1757.1 | 1.4 | 8.4 | 70 | 588 | 2345.1
240 |  |  |  | GB-1: 36" Bobrick Grab Bar - Model No.: B-6806.99 | 6 | 0% | 6 | EA | 43.47 | 260.82 | 0.6 | 3.6 | 70 | 252 | 512.82
241 |  |  |  | GB-2: 48" Bobrick Grab Bar - Model No.: B-6806.99 | 10 | 0% | 10 | EA | 57.27 | 572.7 | 0.6 | 6 | 70 | 420 | 992.7
242 |  |  |  | GB-3: 18" Bobrick Grab Bar Model No.: B-6806.99 | 10 | 0% | 10 | EA | 33.41 | 334.1 | 0.6 | 6 | 70 | 420 | 754.1
243 |  |  |  | HD-1: Hand-Free Handryer - Model No: Xlerator lx-sb-eco-1.1N | 10 | 0% | 10 | EA | 820 | 8200 | 1.5 | 15 | 70 | 1050 | 9250
244 |  |  |  | M-1: Mop Holder - Model No: B-239X34 Bobrick | 2 | 0% | 2 | EA | 353.8 | 707.6 | 1.4 | 2.8 | 70 | 196 | 903.6
245 |  |  |  | SND-1: Sanitary Napkin Disposal - Model No. : B-354 Bobrick Partition Mount | 14 | 0% | 14 | EA | 209.93 | 2939.02 | 1.4 | 19.6 | 70 | 1372 | 4311.02
246 |  |  |  | SND-2: Sanitary napkin Disposal - Model No. : B-354 Bobrick Recessed Mount | 1 | 0% | 1 | EA | 209.93 | 209.93 | 1.4 | 1.4 | 70 | 98 | 307.93
247 |  |  |  | TP-1: Toilet Paper Dispenser - B-2890 Bobrick | 24 | 0% | 24 | EA | 83.54 | 2004.96 | 0.9 | 21.6 | 70 | 1512 | 3516.96
248 |  |  |  | W-1: Waste Receptacle - Model No. : B-35643 Bobrick Recessed | 9 | 0% | 9 | EA | 561.54 | 5053.86 | 1.6 | 14.4 | 70 | 1008 | 6061.86
Signage
249 |  |  |  | A1: (6"x9") WOMEN Toilet Sign | 1 | 0% | 1 | EA | 36 | 36 | 0.4 | 0.4 | 70 | 28 | 64
250 |  |  |  | A2: (6"x9") MEN Toilet Sign | 1 | 0% | 1 | EA | 36 | 36 | 0.4 | 0.4 | 70 | 28 | 64
251 |  |  |  | A3: (6"x9") RESTROOM Sign | 2 | 0% | 2 | EA | 36 | 72 | 0.4 | 0.8 | 70 | 56 | 128
252 |  |  |  | A4: (6"X9") STAFF RESTROOM Sign | 1 | 0% | 1 | EA | 36 | 36 | 0.4 | 0.4 | 70 | 28 | 64
253 |  |  |  | A5: (6"x9") RESTROOM NOT ACCESSIBLE Sign | 1 | 0% | 1 | EA | 36 | 36 | 0.4 | 0.4 | 70 | 28 | 64
254 |  |  |  | A6: (6"x9") ACCESSIBLE RESTRROM Sign | 1 | 0% | 1 | EA | 36 | 36 | 0.4 | 0.4 | 70 | 28 | 64
255 |  |  |  | B: (6"X3") ROOM NAME Sign | 7 | 0% | 7 | EA | 28 | 196 | 0.3 | 2.1 | 70 | 147 | 343
|  |  | DIV-11 | EQUIPMENTS | [8 empty] | 70 |  |  | 2763.97
Appliance
256 |  |  |  | Ice Machine | 2 | 0% | 2 | EA | 449.99 | 899.98 | 2.2 | 4.4 | 70 | 308 | 1207.98
257 |  |  |  | Refrigerator | 1 | 0% | 1 | EA | 1359.99 | 1359.99 | 2.8 | 2.8 | 70 | 196 | 1555.99
|  |  | DIV-12 | FURNISHINGS | [8 empty] | 75 |  |  | 9941.4938
Countertop
258 |  |  |  | (2'-0" Wide) Corien Solid Plastic Countertop | 26 | 10% | 28.6 | SF | 80.4 | 2299.44 | 0.353 | 10.0958 | 75 | 757.185 | 3056.625
Millwork
259 |  |  |  | (2'-0" Deep) Base Cabinet - Drawer In Linear ( 1 EA) - 3/4" Plywood Adjustable Shelf In Linear (1 EA) - Plastic Laminate Interior Side - W/ Filler Panel | 12.76 | 10% | 14.036 | LF | 134.84 | 1892.6142 | 0.768 | 10.7796 | 75 | 808.4736 | 2701.0878
260 |  |  |  | (1'-0" Deep) Upper Cabinet - 3/4" Plywood Adjustable Shelf In linear (2 EA) - Plastic Laminate Interior Finish All Side - W/ Filler Panel | 12.58 | 10% | 13.838 | LF | 219.84 | 3042.1459 | 1.1 | 15.2218 | 75 | 1141.635 | 4183.7809
|  |  | DIV-22 | PLUMBING | [8 empty] | 80 |  |  | 148718.8025
Waste & Vent Pipes
261 |  |  |  | 2" Sanitary Pipe | 134.07 | 10% | 147.477 | LF | 2.016 | 297.3136 | 0.0595 | 8.7749 | 80 | 701.9905 | 999.3042
262 |  |  |  | 2" Vent Pipe | 708.46 | 10% | 779.306 | LF | 2.016 | 1571.0809 | 0.0595 | 46.3687 | 80 | 3709.4966 | 5280.5775
263 |  |  |  | 4" Vent Pipe | 17.28 | 10% | 19.008 | LF | 3.738 | 71.0519 | 0.073 | 1.3876 | 80 | 111.0067 | 182.0586
264 |  |  |  | 3" Sanitary Pipe | 112.85 | 10% | 124.135 | LF | 2.758 | 342.3643 | 0.066 | 8.1929 | 80 | 655.4328 | 997.7971
265 |  |  |  | 2" Sanitary Pipe | 29.64 | 10% | 32.604 | LF | 2.016 | 65.7297 | 0.0595 | 1.9399 | 80 | 155.195 | 220.9247
266 |  |  |  | 4" Sanitary Pipe | 367 | 10% | 403.7 | LF | 3.738 | 1509.0306 | 0.073 | 29.4701 | 80 | 2357.608 | 3866.6386
267 |  |  |  | 6" Sanitary Pipe | 22.12 | 10% | 24.332 | LF | 8.092 | 196.8945 | 0.0895 | 2.1777 | 80 | 174.2171 | 371.1117
Domestic Water Pipes
268 |  |  |  | 1" Hot Water Pipe | 100.49 | 10% | 110.539 | LF | 10.05 | 1110.917 | 0.10333 | 11.4224 | 80 | 913.7891 | 2024.706
269 |  |  |  | 1" Hot Water Return Pipe | 10.58 | 10% | 11.638 | LF | 10.05 | 116.9619 | 0.10333 | 1.2026 | 80 | 96.2075 | 213.1694
270 |  |  |  | 1-1/2" Cold Water Pipe | 6.94 | 10% | 7.634 | LF | 21.99 | 167.8717 | 0.12083 | 0.92244 | 80 | 73.7953 | 241.667
271 |  |  |  | 1-1/4" Cold Water Pipe | 21.29 | 10% | 23.419 | LF | 17.32 | 405.6171 | 0.12083 | 2.8298 | 80 | 226.3837 | 632.0007
272 |  |  |  | 1-1/4" Hot Water Pipe | 13.94 | 10% | 15.334 | LF | 17.32 | 265.5849 | 0.135 | 2.0701 | 80 | 165.6072 | 431.1921
273 |  |  |  | 1/2" Cold Water Pipe | 77.16 | 10% | 84.876 | LF | 4.18 | 354.7817 | 0.11667 | 9.9022 | 80 | 792.176 | 1146.9577
274 |  |  |  | 1/2" Hot Water Pipe | 85.29 | 10% | 93.819 | LF | 4.18 | 392.1634 | 0.086667 | 8.131 | 80 | 650.4784 | 1042.6418
275 |  |  |  | 1/2" Hot Water Return Pipe | 113.28 | 10% | 124.608 | LF | 4.18 | 520.8614 | 0.086667 | 10.7994 | 80 | 863.9488 | 1384.8102
276 |  |  |  | 2" Cold Water Pipe | 86.67 | 10% | 95.337 | LF | 35.37 | 3372.0697 | 0.16667 | 15.8895 | 80 | 1271.16 | 4643.2297
277 |  |  |  | 2-1/2" Cold Water Pipe | 257.5 | 10% | 283.25 | LF | 46.78 | 13250.435 | 0.21833 | 61.8429 | 80 | 4947.4333 | 18197.8683
278 |  |  |  | 3/4" Cold Water Pipe | 102.48 | 10% | 112.728 | LF | 6.57 | 740.623 | 0.091667 | 10.3334 | 80 | 826.672 | 1567.295
279 |  |  |  | 3/4" Hot Water Pipe | 152.89 | 10% | 168.179 | LF | 6.57 | 1104.936 | 0.091667 | 15.4164 | 80 | 1233.3127 | 2338.2487
280 |  |  |  | 3/4" Hot Water Return Pipe | 95.12 | 10% | 104.632 | LF | 6.57 | 687.4322 | 0.091667 | 9.5913 | 80 | 767.3013 | 1454.7336
Plumbing Fixtures
281 |  |  |  | P-1:Water Closet Manu: American Standards Type & Model No:Afwall 2859.128 | 25 | 0% | 25 | EA | 526 | 13150 | 5.2 | 130 | 80 | 10400 | 23550
282 |  |  |  | P-2:Lavatory Wall hung Manu: American Standard Type & Model: Lucerne 0356.041 | 22 | 0% | 22 | EA | 78.65 | 1730.3 | 4.8 | 105.6 | 80 | 8448 | 10178.3
283 |  |  |  | P-3:Urinal Manu: American Standard Type & Model:Washbrook 6590.001 | 9 | 0% | 9 | EA | 366.16 | 3295.44 | 5.6 | 50.4 | 80 | 4032 | 7327.44
284 |  |  |  | P-4:Sink Manu: Elkay Type & Model:Lustertone Lrad221955 | 2 | 0% | 2 | EA | 1269 | 2538 | 5.6 | 11.2 | 80 | 896 | 3434
285 |  |  |  | P-5:Mopm Receptor Manu: Fiat Type & Model No:Afwall 2859.128 | 2 | 0% | 2 | EA | 526 | 1052 | 4.8 | 9.6 | 80 | 768 | 1820
286 |  |  |  | AFWH:Anti Freeze Wall Hydrant Manu:MIFAB Type & Model No:MHY-20 | 3 | 0% | 3 | EA | 1558.23 | 4674.69 | 4.4 | 13.2 | 80 | 1056 | 5730.69
287 |  |  |  | WH-1:Wtaer heater Manu:AO Smith No:DRE-52 Capacity:50 Gallon | 1 | 0% | 1 | EA | 6909.95 | 6909.95 | 9 | 9 | 80 | 720 | 7629.95
288 |  |  |  | Expansion Tank Amtrol #St-5 | 1 | 0% | 1 | EA | 65.07 | 65.07 | 1.6 | 1.6 | 80 | 128 | 193.07
289 |  |  |  | FD:Floor Drain Manu:MIFAB Type & Model No:F1000-7-5 | 11 | 0% | 11 | EA | 239.77 | 2637.47 | 1.8 | 19.8 | 80 | 1584 | 4221.47
290 |  |  |  | Deep Seal Traps @ Toilet Rooms | 11 | 0% | 11 | EA | 241 | 2651 | 2.12 | 23.32 | 80 | 1865.6 | 4516.6
291 |  |  |  | Truebero Lav Guard Total P-Trap | 22 | 0% | 22 | EA | 50.7 | 1115.4 | 0.8 | 17.6 | 80 | 1408 | 2523.4
292 |  |  |  | CP:Circ. Pump Manu: Bell & Gossett NBF-8S/LW 32 Watts Capacity:1 GPM @ 6 TDH | 1 | 0% | 1 | EA | 388.95 | 388.95 | 5.2 | 5.2 | 80 | 416 | 804.95
Misc.
293 |  |  |  | Cleanout | 1 | 0% | 1 | EA | 118.6 | 118.6 | 1.6 | 1.6 | 80 | 128 | 246.6
294 |  |  |  | Floor Sink | 2 | 0% | 2 | EA | 345 | 690 | 2.2 | 4.4 | 80 | 352 | 1042
295 |  |  |  | Ball Valve | 41 | 0% | 41 | EA | 26.1 | 1070.1 | 0.8 | 32.8 | 80 | 2624 | 3694.1
296 |  |  |  | 3/4" Valve W/ Threader Outlet | 1 | 0% | 1 | EA | 22.3 | 22.3 | 0.8 | 0.8 | 80 | 64 | 86.3
297 |  |  |  | Balancing Valve | 6 | 0% | 6 | EA | 183.4 | 1100.4 | 1 | 6 | 80 | 480 | 1580.4
298 |  |  |  | Check Valve | 6 | 0% | 6 | EA | 101.6 | 609.6 | 0.8 | 4.8 | 80 | 384 | 993.6
299 |  |  |  | Caped Existing Aandoned Service | 1 | 0% | 1 | EA | 85 | 85 | 0.8 | 0.8 | 80 | 64 | 149
Allownces
300 |  |  |  | Allownce For pipes Fittings & Insulation (3330 SF) | 1 | 0% | 1 | LS | 10524 | 10524 | 106 | 106 | 106 | 11236 | 21760
|  |  | DIV-23 | (HVAC) HEATING VENTILATING & AIR CONDITIONING | [8 empty] | 95.3 |  |  | 63863.9621
Ducts
301 |  |  |  | 10" Dia Duct | 7.97 | 10% | 8.767 | LF | 5.84 | 51.1993 | 0.314 | 2.7528 | 95.3 | 262.3455 | 313.5447
302 |  |  |  | 10x10 Duct | 90.17 | 10% | 99.187 | LF | 12 | 1190.244 | 0.4 | 39.6748 | 95.3 | 3781.0084 | 4971.2524
303 |  |  |  | 10x8 Duct | 12.76 | 10% | 14.036 | LF | 9.6 | 134.7456 | 0.36 | 5.053 | 95.3 | 481.5471 | 616.2927
304 |  |  |  | 14x14 Duct | 19.09 | 10% | 20.999 | LF | 23.52 | 493.8965 | 0.56 | 11.7594 | 95.3 | 1120.6746 | 1614.5711
305 |  |  |  | 14x8 Duct | 15.07 | 10% | 16.577 | LF | 13.44 | 222.7949 | 0.44 | 7.2939 | 95.3 | 695.1068 | 917.9016
306 |  |  |  | 16x10 Duct | 32.74 | 10% | 36.014 | LF | 19.2 | 691.4688 | 0.52 | 18.7273 | 95.3 | 1784.7098 | 2476.1786
307 |  |  |  | 16x14 Duct | 4.59 | 10% | 5.049 | LF | 26.88 | 135.7171 | 0.6 | 3.0294 | 95.3 | 288.7018 | 424.4189
308 |  |  |  | 16x16 Duct | 26.9 | 10% | 29.59 | LF | 30.72 | 909.0048 | 0.64 | 18.9376 | 95.3 | 1804.7533 | 2713.7581
309 |  |  |  | 20x14 Duct | 3.52 | 10% | 3.872 | LF | 33.6 | 130.0992 | 0.68 | 2.633 | 95.3 | 250.9211 | 381.0203
310 |  |  |  | 6" Dia Duct | 126.65 | 10% | 139.315 | LF | 3.73 | 519.645 | 0.1884 | 26.2469 | 95.3 | 2501.334 | 3020.9789
311 |  |  |  | 6x6 Duct | 7.37 | 10% | 8.107 | LF | 4.32 | 35.0222 | 0.24 | 1.9457 | 95.3 | 185.4233 | 220.4455
312 |  |  |  | 8x6 Duct | 9.9 | 10% | 10.89 | LF | 5.76 | 62.7264 | 0.28 | 3.0492 | 95.3 | 290.5888 | 353.3152
313 |  |  |  | 8x8 Duct | 28.73 | 10% | 31.603 | LF | 7.68 | 242.711 | 0.32 | 10.113 | 95.3 | 963.7651 | 1206.4761
314 |  |  |  | 9" Dia Duct | 8.43 | 10% | 9.273 | LF | 5.5912 | 51.8477 | 0.2826 | 2.6205 | 95.3 | 249.7384 | 301.5861
315 |  |  |  | Flexible Duct | 4.41 | 10% | 4.851 | LF | 3.2 | 15.5232 | 0.15072 | 0.73114 | 95.3 | 69.6779 | 85.2011
316 |  |  |  | 16x16 Make Up Air Duct | 36.21 | 10% | 39.831 | LF | 30.72 | 1223.6083 | 0.64 | 25.4918 | 95.3 | 2429.3724 | 3652.9807
Air Devices
317 |  |  |  | A:12x12 Aluminum Single Deflection Louvered Return W/ 45 Degree angle Model 630 50 CFM | 3 | 0% | 3 | EA | 123.99 | 371.97 | 1.6 | 4.8 | 95.3 | 457.44 | 829.41
318 |  |  |  | A:12x12 Aluminum Single Deflection Louvered Return W/ 45 Degree angle Model 630 100 CFM | 14 | 0% | 14 | EA | 123.99 | 1735.86 | 1.6 | 22.4 | 95.3 | 2134.72 | 3870.58
319 |  |  |  | A:12x12 Aluminum Single Deflection Louvered Return W/ 45 Degree angle Model 630 75 CFM | 7 | 0% | 7 | EA | 123.99 | 867.93 | 1.6 | 11.2 | 95.3 | 1067.36 | 1935.29
320 |  |  |  | A:12x12 Aluminum Single Deflection Louvered Return W/ 45 Degree angle Model 630 125 CFM | 2 | 0% | 2 | EA | 123.99 | 247.98 | 1.6 | 3.2 | 95.3 | 304.96 | 552.94
321 |  |  |  | B:24x24 Aluminum Single Deflection Louvered Return W/ 45 Degree angle Model 630 300 CFM | 2 | 0% | 2 | EA | 247.98 | 495.96 | 2.4 | 4.8 | 95.3 | 457.44 | 953.4
322 |  |  |  | B:24x24 Aluminum Single Deflection Louvered Return W/ 45 Degree angle Model 630 350 CFM | 2 | 0% | 2 | EA | 247.98 | 495.96 | 2.4 | 4.8 | 95.3 | 457.44 | 953.4
323 |  |  |  | B:24x24 Aluminum Single Deflection Louvered Return W/ 45 Degree angle Model 630 400 CFM | 2 | 0% | 2 | EA | 247.98 | 495.96 | 2.4 | 4.8 | 95.3 | 457.44 | 953.4
Exhaust Fan
324 |  |  |  | EF-1 Exhaust Fan Model Number:165SQN10D Inline Centrifugal 1850 CFM | 1 | 0% | 1 | EA | 1470 | 1470 | 4.8 | 4.8 | 95.3 | 457.44 | 1927.44
325 |  |  |  | EF-2 Exhaust Fan Model Number:165SQN10D Inline Centrifugal 425 CFM | 1 | 0% | 1 | EA | 1470 | 1470 | 4.8 | 4.8 | 95.3 | 457.44 | 1927.44
Packaged Terminal Air Conditioner
326 |  |  |  | PTAC-1 Packaged Terminal Air Conditioner Model:HEH153J 400 CFM | 1 | 0% | 1 | EA | 1416 | 1416 | 6.8 | 6.8 | 95.3 | 648.04 | 2064.04
327 |  |  |  | PTAC-2 Packaged Terminal Air Conditioner Model:HEH153J 400 CFM | 1 | 0% | 1 | EA | 1416 | 1416 | 6.8 | 6.8 | 95.3 | 648.04 | 2064.04
Misc.
328 |  |  |  | 25Wx24Dx25H Plenum W/ (2) 25Hx25W Greenheck ESD 635 Exhaust Louvers Birdscreen | 4 | 0% | 4 | EA | 1150 | 4600 | 3.2 | 12.8 | 95.3 | 1219.84 | 5819.84
329 |  |  |  | Motorized damper Interlock | 4 | 0% | 4 | EA | 75.99 | 303.96 | 1.2 | 4.8 | 95.3 | 457.44 | 761.4
330 |  |  |  | Volume Damper | 19 | 0% | 19 | EA | 34.6 | 657.4 | 0.8 | 15.2 | 95.3 | 1448.56 | 2105.96
331 |  |  |  | PTAC Remote Thermostat | 3 | 0% | 3 | EA | 176.16 | 528.48 | 2.2 | 6.6 | 95.3 | 628.98 | 1157.46
Allownces
332 |  |  |  | Allownce For Ducts Fittings & Insulation (3330 SF) | 1 | 0% | 1 | LS | 5722 | 5722 | 66 | 66 | 106 | 6996 | 12718
|  |  | DIV-26 | ELECTRICAL | [8 empty] | 106 |  |  | 100842.11
Lighting
333 |  |  |  | A:8"x4' Surface Mounted Led Light fixture Manu:Kenall 120 Volt | 39 | 0% | 39 | EA | 420 | 16380 | 2.2 | 85.8 | 106 | 9094.8 | 25474.8
334 |  |  |  | AEM:8"x4' Surface Mounted Led Light fixture W/ 90 Minutes Integral Emergency Battery Backup Manu:Kenall 120 Volt | 26 | 0% | 26 | EA | 620 | 16120 | 2.8 | 72.8 | 106 | 7716.8 | 23836.8
335 |  |  |  | BEM:8"x2' Surface Mounted Led Light fixture W/ 90 Minutes Integral Emergency Battery Backup Manu:Kenall 120 Volt | 4 | 0% | 4 | EA | 480 | 1920 | 2.2 | 8.8 | 106 | 932.8 | 2852.8
336 |  |  |  | C:6" Diameter Exterior Soffit Light W/ Integral Emergency Battery 90 Minutes Manu:USAI Lighting 120 Volt | 9 | 0% | 9 | EA | 540 | 4860 | 1.8 | 16.2 | 106 | 1717.2 | 6577.2
Switches
337 |  |  |  | THREE WAY SWITCH | 4 | 0% | 4 | EA | 4.5 | 18 | 0.4 | 1.6 | 106 | 169.6 | 187.6
338 |  |  |  | SINGLE POLE 20A, TOGGLE TYPE SWITCH | 12 | 0% | 12 | EA | 2 | 24 | 0.4 | 4.8 | 106 | 508.8 | 532.8
Misc.
339 |  |  |  | DUAL TECHNOLOGY CEILING MOUNTED OCCUPANCY SENSOR SHALL BE MODEL ATD1000CRP AS MANUFACTURED BY HUBBELL OR EQUAL. PROVIDE WITH POWER PACK AND WIRE COMPLETE. | 18 | 0% | 18 | EA | 229.99 | 4139.82 | 1.2 | 21.6 | 106 | 2289.6 | 6429.42
340 |  |  |  | ROVIDE AND INSTALL A DIGITAL TIME CLOCK WITH PHOTOCELL SIMILAR TO TORK DGLC | 1 | 0% | 1 | EA | 853.75 | 853.75 | 3.2 | 3.2 | 106 | 339.2 | 1192.95
Power
341 |  |  |  | GROUND FAULT RECEPTACLE | 33 | 0% | 33 | EA | 22.4 | 739.2 | 0.6 | 19.8 | 106 | 2098.8 | 2838
342 |  |  |  | WP/GROUND FAULT RECEPTACLE | 3 | 0% | 3 | EA | 34.6 | 103.8 | 0.6 | 1.8 | 106 | 190.8 | 294.6
343 |  |  |  | JUNCTION BOX | 18 | 0% | 18 | EA | 10.98 | 197.64 | 0.4 | 7.2 | 106 | 763.2 | 960.84
344 |  |  |  | DUPLEX CONVENIENCE RECEPTACLE 20A. 125V | 16 | 0% | 16 | EA | 5.8 | 92.8 | 0.6 | 9.6 | 106 | 1017.6 | 1110.4
345 |  |  |  | DUPLEX RECEPTACLE MOUNTED ABOVE COUNTER HEIGHT WITH GROUND. (GFI) | 2 | 0% | 2 | EA | 60 | 120 | 1.2 | 2.4 | 106 | 254.4 | 374.4
346 |  |  |  | 200A Meter Pan | 1 | 0% | 1 | EA | 497.1 | 497.1 | 4.4 | 4.4 | 106 | 466.4 | 963.5
347 |  |  |  | New Panel PP-1A 200A | 1 | 0% | 1 | EA | 1376 | 1376 | 9 | 9 | 106 | 954 | 2330
348 |  |  |  | New Panel PP-1B 100A | 1 | 0% | 1 | EA | 951 | 951 | 8 | 8 | 106 | 848 | 1799
Allownces
349 |  |  |  | Allownce For Wiring & Conduits (3330 SF) | 1 | 0% | 1 | LS | 11215 | 11215 | 112 | 112 | 106 | 11872 | 23087
|  |  | DIV-32 | EXTERIOR IMPROVEMENTS | [8 empty] | 80 |  |  | 9196
Sitework
350 |  |  |  | 5" Concrete Sidewalk -4" Type 5, Class A Granular Subbase -Compacted Subgrade | 800 | 10% | 880 | SF | 6.21 | 5464.8 | 0.053 | 46.64 | 80 | 3731.2 | 9196
SUB TOTAL | [14 empty] | 934029.8468 | 934029.8468
INSURANCE | [8 empty] | 0% | [5 empty] | 0 | 0
OVERHEAD & PROFIT | [8 empty] | 10% | [5 empty] | 93402.9847 | 93402.9847
CONTIGENCY | [8 empty] | 0% | [5 empty] | 0 | 0
TOTAL BASE BID | [14 empty] | 0 | 1027432.8314
[12 empty] | 5677.7956 | Total Man-hours
[12 empty] | 4 | Crew Size
[12 empty] | 177.4311 | Working Days
[12 empty] | 8.8716 | Months